02 2020 Code Change 1 EUUT301

Objectives

The licensee will learn how the changes that were made from the 2017 National Electrical Code to the 2020 National Electrical Code effect Chapter One through Chapter Four. With this thorough understanding of the changes licensees will be able to adjust their work processes to follow the new code.

Outline

- IMPORTANT NEW AND CHANGED DEFINITIONS (6 minutes)

  - Equipotential Plane

  - Fault Current

  - Free Air

  - Grounded Conductor

  - Habitable Room

  - Island Mode

  - Reconditioned

- CHAPTER 1 – GENERAL (50 minutes)

  - 110.3

  - 110.12

  - 110.14

  - 110.22

  - 110.26

- CHAPTER 2 – WIRING AND PROTECTION (130 minutes)

  - 200.3

  - 210.8

  - 210.12

  - 210.15

  - 210.52

  - 215

  - 220.12

  - 220.14

  - 220.53

  - 225.30

  - 230.46

  - 230.62

  - 230.67

  - 230.71

  - 230.85

  - 240.6

  - 240.87

  - 240.88

  - 242

  - 242.1

  - 242.3

  - 242.6

  - 242.8

  - 242.10

  - 242.12

  - 242.14

  - 242.16

  - 242.18

  - 242.20

  - 242.22

  - 242.24

  - 242.26

  - 242.28

  - 242.3

  - 242.32

  - 242.40

  - 242.42

  - 242.44

  - 242.46

  - 242.48

  - 242.50

  - 242.54

  - 242.56

  - 250.25

  - 25-.64

  - 250.68

  - 250.104

  - 250.109

  - 250.121

  - 250.118

  - 250.122

  - 250.148

  - 250.184

  - 250.187

- CHAPTER 3 – WIRING METHODS (106 minutes)

  - 300.4

  - 300.7

  - 300.15

  - 300.22

  - 300.25

  - 300.45

  - 310

  - 310.12

  - 311

  - 311.1

  - 311.2

  - 311.6

  - 311.10

  - 311.12

  - 311.14

  - 311.16

  - 311.30

  - 311.32

  - 311.36

  - 311.40

  - 311.44

  - 311.60

  - 312.8

  - 314.16

  - 314.27

  - 320.80

  - 330.130

  - 334.2

  - 334.30

  - 337

  - 337.10

  - 337.30

  - 337.31

  - 337.80

  - 337.104

  - 337.108

  - 337.112

  - 337.114

  - 337.15

  - 337.16

  - 337.120

  - 338.2

  - 338.100

  - 342.10

  - 342.14

  - 344.10

  - 350.10

  - 370.20

  - 380.12

  - 382.14

  - 344.10

  - 350.10

  - 370.20

  - 380.12

  - 382.12

  - 382.104

  - 392.10

  - 392.30

  - 392.44

  - 392.46

- CHAPTER 4 – EQUIPMENT FOR GENERAL USE (113 minutes)

  - 400.12

  - 404.7

  - 404.9

  - 404.14

  - 406.4

  - 406.5

  - 406.9

  - 406.12

  - 406.13

  - 408.4

  - 408.6

  - 408.8

  - 408.18

  - 408.36

  - 408.43

  - 410.2

  - 410.36

  - 410.44

  - 410.69

  - 410.116

  - 410.118

  - 410.17

  - 410.172

  - 410.174

  - 410.176

  - 410.178

  - 410.180

  - 410.182

  - 410.118

  - 410.184

  - 410.186

  - 410.188

  - 422.5

  - 422.16

  - 424.20

  - 425.22

  - 430.2

  - 430.122

  - 440.9

  - 440.32

  - 445.6

  - 445.18

  - 450.9

  - 480.7

  - 480.9

  - 480.10

  - 480.12

  - 480.13

  - 490.21