# Outline (chapter 1-9)

# Course Description

## The following course is designed around chapter 1-9 of the 2020 NEC. New definitions will be covered, but the majority of the course will be covering additions and revisions of the 2020 NEC

## Info – The author of this course has added extra info that will be available for each topic covered, the info will expand on what the change was from the 2017 NEC to the 2020 NEC. In addition the author has also provided some illustrations to help provide better understanding of selected topics.

## This course was designed to give a better understanding to the end user on what/why happened from 2017 to 2020 of the NEC. Even though this course does not cover every change that happened it does focus on the major one.

# Glossary of Key Terms

### Accessible (as applied to equipment) – Capable of being reached for operation, renewal, and inspection.

### Bathroom– in areas including a sink (basin) with one or more of the following: a toilet, a urinal, a tub, shower, a big day, or similar plumbing fixtures.

### Bonding Jumper Supply-Side – A conductor installed on the supply side of a service or within a service equipment enclosure(s), or for separately derived system, that ensures the required electrical conductivity between metal parts required to be electrically connected.

### Habitable Room – a room in a building for a living, sleeping, eating, or cooking, but excluding bathrooms, toilet rooms, and closets, hallways, storage or utility spaces, and similar areas.

### Inverter – Equipment that changes DC to AC

### NEC – National Electrical Code

### NFPA – National Fire Protection Association

### Retrofit Kit – A general term for a complete subassembly of parts and devises for field conversion of utilization equipment.

### Patient Care Space – Space within a healthcare facility wherein patients are intended to be examined or treated.

### Dwelling Units – A single unit, providing complete in independent living facilities for one or more persons, including permanent provisions for a living, sleeping, cooking, and sanitation

### Qualified Person – One who has skills and knowledge related to the construction and operation of the electrical equipment and installations and has received safety training to recognize and avoid the hazards involved.

# Learning Objectives

### The user shall be able to define the key terms used in this course

### Explain Circuit Integrity

### Understand Class 1 Circuit

### Understand Class 2 Circuit

### Understand Class 3 Circuit

### Define Grounding Conductor, Equipment

### Understand Terminal Connection Torque

### Understands depth of working space

### Can explain height of working space

### Know the requirements for size 6AWG or smaller

### Understand what large equipment is

### Determine the means of identification of terminals

### Identified 277 V to ground

### Describe specific appliances

### Understand equipment requiring servicing

### Understand garage branch circuits

### Understand branch circuit extensions or modifications – dwelling units, dormitory units, and guest rooms and guest suites

### Explain countertops and work surfaces

### Explain Wall space

### Define Island and peninsular countertops and work surfaces

## Identifying dwelling units

## Explain Office buildings

## Explain Hotel and motel occupancies

## Understand size of conductors 1000 V, nominal, or less

## Explain what a noncoincident load is

## Understand supports over buildings

## Understand the number for supplies (feeders) to a building

## Explain spliced and tapped conductors

## Understand General for section 230.70

## Understand maximum number of disconnects

## Understand equipment connected to the supply side of service disconnect

## Define performance testing

## Explain 250.28(A) material

## Understand grounding separately derived alternating-current systems

## Understand grounded conductor

## Identify grounding electrode conductor, multiple separately derived systems

## Explain 250.64(B)(3) smaller than 6AWG

## Understand raceways in enclosures for grounding electrode conductors

## Understand 250.64(E)(3) size

## Able to explain grounding electrode conductor connections

## Understand grounding and bonding conductors

## Understand 300.15(F) fitting

## Able to explain information technology equipment

## Explain minimum size of conductors

## Understand stranded conductors

## Understand 310.3(D) insulated

## Understand Article 311 medium voltage conductors and cable

## Identify Power monitoring or energy management equipment

## Explain equipment grounding conductor fill

## Explain securing in supporting

## Understand Severe Physical Damage

## Understand Dissimilar Metals

## Explain 350.10 Uses Permitted List #(4)

## Explain 356.10 Uses Permitted

## Understand Physical Damage

## Understand General-Use Snap Switches, Dimmers, and Control Switches

## Understand Mounting of General-Ise Snap Switches, Dimmers, and Control Switches

## Explain Rating and Use of Switches

## Able to explain Bathtub and shower space

## Identify Tamper-Resistant Receptacles

## Understand Panelboard Orientation

## Understand markings by the manufacturer for sections of equipment that requires rear or side access to make field connections

## Explain Wire-Bending Space Within an Enclosure Containing a Panelboard

## Understand Bathtub and Shower Area

## Able to explain 410.40 General

## Able to explain 422.16 (A) General

## Understand Specific Appliances

## Able to identify when appliances are required to be listed

## Identify Single Motor-Compressor

## Understand 445.6 Listing

## Able to explain Dry-Type Transformers Installed Indoors

## Able to explain no storage on transformers duty ventilation

## Understand Walls, Roofs, and Floors

## Identify Identification of Power Sources

## Understand Ground-Fault Circuit- Interrupter Protection for Personal

## Identify Patient Bed Location Receptacles

## Able to explain Protection

## Able to explain Rides, Tents, and Connections

## Explain Electrical Supply to Building(s) or Structure(s) from a Distribution Point

## Understand Ground-Fault Circuit Interrupters (GFCI)

## Understand 551.71(A) 20-Ampere

## Be aware of 555.2 – Definitions

## Identify Bonding of Non-Current-Carrying metal Parts

## Understand 600.5(A) Required Branch Circuit

## Able to define Under Raised Floors

## Understand Inspection after Installation

## Understands Pool Equipment Room

## Able to define 690.4 General Requirements

## Able to explain Overcurrent Protection

## Identify Power Source Consideration

## Understand Microgrid Systems

## Able to explain Equipment Grounding Conductor

## Understand requirements for Energy Management System

## Understand Mechanical Execution of Work

## Knowledge of Cable Trays

## Able to define Communication Service Provider

## Knowledge of overhead Ariel for a coaxial cable

## Review Overhead (Aerial) Wires and Cables

## Review Cable Bonding and Grounding

## Review of Broadband Author (SME)

## The following course was written by Mr. Byron Cropp of Oregon. Mr. Cropp apprenticed back in the field in the early nineties and has held several positions with different electrical companies before opening is own electrical contracting company in 2001. In 2008 Mr. Cropp shut down his business to become an electrical consultant for a national electrical company where he was asked to secure a master electrician license in Washington and a supervisor license in Oregon. During his spare time he has also written a code class for a third party educational company on NEC code changes.