Solar PV Commercial System Installation

WTRE 410

Overview of Lesson:

Learn and experience the basic process of installing and commissioning a commercial scale grid-tied PV system.

Time:

Four hours of class time.

Objectives:

During this class students will:

- Learn how to install racking for PV modules.

- Install and wire PV modules in a configuration that meets the inverter specification and NEC code requirements.

- Install all other required electrical system components according to NEC code requirements such as: Grounding conductors, disconnects, signs and etc.

- Properly and safely commission a grid-tied PV system according to learning objectives in the Advanced PV Systems class.

Materials:

School provides fully operational grid-tied system that can be disassembled and reassembled by students.

Activities (in class):

- Students complete installation and commissioning of racking, panels and electrical components for a commercial grid-tied PV system

Assignments (to be completed outside of class):

- None