CONTINUING EDUCATION MR026

Harassment and Discrimination in the Workplace

2023 NEC Traction Elevator Code Course

2023 NEC Escalator Code Course

8 Hours

Course Objectives:

There are three different sections to this course:

Harassment and Discrimination in the Workplace 
Completion of this section of the course will give the mechanic an understanding of what constitutes discrimination and harassment.

2023 NEC Traction Elevator Code Course
Completion of this section of the course will provide the mechanic with electrical code requirements for traction elevators.

2023 NEC Escalator Code Course
Completion of this section of the course will provide the mechanic with electrical code requirements for escalators.

Online Continuing Education Course

For State Licensing Renewal

NEIEP CONTINUING EDUCATION SERIES

PROGRAM: National Elevator Industry Educational Program Continuing Education

DIVISION: Licensing Renewal

COURSE HOURS: 8

CATALOG DESCRIPTION:

This course is designed to provide the Licensed Elevator Constructor with industry specific

continuing education in an effort to satisfy the requirements established in, and in accordance

with, the appropriate Administrative Code having jurisdiction.

There are three sections to this course:

Harassment and Discrimination in the Workplace

2023 NEC Traction Elevator Code Course

2023 NEC Escalator Code Course

Course Description

## Harassment and Discrimination in the Workplace   2 Hours

- Introduction

- Defining Sexual Harassment

- Sexual Harassment Facts and Statistics

- Review 1: Definition of Sexual Harassment

- Sexual Harassment and the Law

  - Federal Laws

  - California Laws (for CA Course)

  - New York Laws (for NY Course)

  - Fair Workplace and Improving Company Culture

- Review 2: Sexual Harassment and the Law

- Recognizing Sexual Harassment Behaviors

  - Sex Stereotyping

  - Abusive Conduct

  - Sexual Misconduct

  - Quid Pro Quo

  - Sexual Assault

  - Hostile Work Environment

- Review 3: Recognizing Sexual Harassment Behaviors

- Your Employer’s Responsibilities

  - Your Employer’s Responsibilities

  - Employment Rights for Workers

  - Factors that Increase the likelihood for Sexual Harassment

- Review 4: Your Employer’s Responsibilities

- Responding to Sexual Harassment

  - The Supervisor’s Responsibility

  - Documentation and Reporting for Employees

  - Retaliation

  - Investigation Process

  - Additional Protection and Remedies

  - Other Types of Workplace Harassment

- Case Studies

  - Example 1: not Taking No for an Answer

  - Example 2: The Boss with a Bad Attitude

Example 3: No Job for a Woman

  - Example 4: Too Close for Comfort

  - Example 5: A Distasteful Trade
Summary 
Exam

## National Electric Code Course For Traction Elevators             4 Hours

NEC 2023 Article110 Part II 110.26 Spaces 
Part II. 1000 Volts, Nominal, or Less
110.26 Spaces About Electrical Equipment.
(A) Working Space.
    (1) Depth of Working Space.
    (2) Width of Working Space.
    (3) Height of Working Space.
    (4) Limited Access.
    (5) Separation from High-Voltage Equipment.
    (6) Grade, Floor, or Working Platform. 
(B) Clear Spaces.
(C) Entrance to and Egress from Working Space.
    (1) Minimum Required.
    (2) Large Equipment.
    (3) Personnel Doors.
(D) Illumination.
(E) Dedicated Equipment Space.
    (1) Indoor.
    (2) Outdoor.
(F) Locked Electrical Equipment Rooms or Enclosures.

NEC 2023 Article110 Part II 110.26 Equip Marking
110.21 Marking.
(A) Equipment Markings.
    (1) General.
    (2) Reconditioned Equipment.
(B) Field-Applied Hazard Markings.

NEC 2023 Article 430.7 Motor Marking
430.7 Marking on Motors and Multimotor Equipment.
    (A) Usual Motor Applications.
    (B) Locked-Rotor Indicating Code Letters.
(1) Multispeed Motors.
(2) Single-Speed Motors.
(3) Dual-Voltage Motors.
(4) 50/60 Hz Motors.
(5) Part-Winding Motors.
    (C) Torque Motors.
    (D) Multimotor and Combination-Load Equipment.
(1) Factory-Wired.
(2) Not Factory-Wired.

NEC 2023 Article 620.51 Disconnecting Means
Part VI. Disconnecting Means and Control
620.51 Disconnecting Means.
(A) Type.
110.25 Lockable Disconnecting Means.
(B) Operation.
(C) Location.
    (1) On Elevators Without Generator Field Control.
620.91 Emergency and Standby Power Systems.
(C) Disconnecting Means.
    (2) On Elevators with Generator Field Control.
(D) Identification and Signs.
    (1) Available Fault Current Field Marking.
(E) Surge Protection. 
620.52 Power from More Than One Source.
    (A) Single-Car and Multicar Installations.
    (B) Warning Sign for Multiple Disconnecting Means.
110.21 Marking.
    (B) Field-Applied Hazard Markings.
Interconnection Multicar Controllers.
620.53 Car Light, Receptacle(s), and Ventilation Disconnecting Means.
430.109 Type.(C) Stationary Motors of 2 Horsepower or Less.
620.54 Heating and Air-Conditioning Disconnecting Means.
620.55 Utilization Equipment Disconnecting Means.

NEC 2023 Article 620.61 Overcurrent Protection
Part VII. Overcurrent Protection
Overcurrent protection shall be provided in accordance with 620.61(A) through (D).
(A) Operating Devices and Control and Signaling Circuits.
724.43 Class 1 Circuit Overcurrent Protection.
724.45 Class 1 Circuit Overcurrent
Device Location.
    (A) Point of Supply.
    (B) Feeder Taps.
    (C) Branch-Circuit Taps.
    (D) Primary Side of Transformer.
    (E) Input Side of Electronic Power Source.
(B) Overload Protection for Motors.
    (1) Duty Rating on Elevator, Dumbwaiter, and Motor-Generator Sets Driving Motors.
(C) Motor Feeder Short-Circuit and Ground-Fault Protection.
(D) Motor Branch-Circuit Short-Circuit and Ground-Fault Protection.
620.62 Selective Coordination. 
620.65 Signage.
110.21 Marking.
Field-Applied Hazard Markings.

NEC 2023 Article 620.82 Grounding and Bonding
Part IX. Grounding and Bonding 
620.82 Electric Elevators. 
Part V. 
250.90 General.
250.92 Services.
    (A) Bonding of Equipment for Services.
    (B) Method of Bonding at the Service.
250.94 Bonding for Communications Systems.
    (A) The Intersystem Bonding Termination Device.
    (B) Other Means.
250.96 Bonding Other Enclosures.
    (A) General.
    (B) Isolated Grounding Circuits.
250.97 Bonding for Over 250 Volts to Ground.
250.98 Bonding Loosely Jointed Metal Raceways.
250.100 Bonding in Hazardous (Classified) Locations.
250.102 Grounded Conductor, Bonding Conductors, and Jumpers.
    (A) Material.
    (B) Attachment.
    (C) Size — Supply-Side Bonding Jumper.
(1) Size for Supply Conductors in a Single Raceway or Cable.
(2) Size for Parallel Conductor Installations in Two or More Raceways or Cables.
    (D) Size — Equipment Bonding Jumper on Load Side of an Overcurrent Device. 
    (E) Installation.
(1) Inside a Raceway or an Enclosure. 
(2) Outside a Raceway or an Enclosure. 
(3) Protection.

Structural Metal.
Exposed structural metal that is interconnected to form a metal building frame, is not intentionally grounded or bonded, and is likely to become energized. 
Common Grounding Electrode Conductor.
250.106 Lightning Protection Systems.
The lightning protection system ground terminals shall be bonded to the building or structure grounding electrode system.
Part VII. Methods of Equipment Grounding Conductor Connections
250.130 Equipment Grounding Conductor Connections.
    (A) For Grounded Systems.
    (B) For Ungrounded Systems.
    (C) Replacement of Nongrounding Receptacle or Snap Switch and Branch Circuit Extensions.
250.132 Short Sections of Raceway or Cable Armor.
250.134 Equipment Fastened in Place or Connected by Permanent Wiring Methods (Fixed).
250.136 Equipment Secured to a Metal Rack or Structure.
250.138 Cord-and-Plug-Connected Equipment.
    (A) By Means of an Equipment Grounding Conductor.
    (B) By Means of a Separate Flexible Wire or Strap.
250.142 Use of Grounded Circuit Conductor for Grounding Equipment.
    (A) Supply-Side Equipment.
    (B) Load-Side Equipment.
250.144 Multiple Circuit Connections.
250.146 Connecting Receptacle Grounding Terminal to an Equipment Grounding Conductor.
    (A) Surface-Mounted Box.
    (B) Contact Devices or Yokes.
    (C) Floor Boxes.
    (D) Isolated Ground Receptacles.
250.148 Continuity of Equipment Grounding Conductors and Attachment in Boxes.
    (A) Connections and Splices.
    (B) Equipment Grounding Conductor Continuity.
    (C) Metal Boxes. 
    (D) Nonmetallic Boxes. 

NEC 2023 Article 620.91 Emergency & Standby Power
Part X. Emergency and Standby Power Systems
620.91 Emergency and Standby Power Systems.
(A) Regenerative Power.
(B) Other Building Loads.
(C) Disconnecting Means.

NEC 2023 Article 620.21 Machine Room Wiring
620.21 Machine Room Wiring Methods
Within Machine Rooms, Control Rooms, and Machinery Spaces and Control Spaces.
NEC 2023 Article 620.23 Machine Rm Branch Circuits
620.23 Branch Circuits for Machine Room, Control Room/Machinery Space and Control Space  Interior Lighting and Receptacle(s).
    (A) Separate Branch Circuits.
    (B) Lighting Switch.
    (C) Duplex Receptacle.

NEC 2023 Article 620.25 Additional Branch Circuits
620.25 Branch Circuits for Other Utilization Equipment.
    (A) Additional Branch Circuits.
    (B) Overcurrent Devices.

NEC 2023 Article 430.6 Ampacity & Motor Rating
430.6 Conductor Ampacity and Motor Rating Determination.
(A) General Motor Applications.
For general motor applications, current ratings shall be determined based on 430.6(A)(1) and (A)(2).
430.22 Single Motor.
    (B) Multispeed Motor.
430.52 Rating or Setting for Individual Motor Circuit.
    (A) General.
    (B) All Motors.
    (C) Rating or Setting.
(B) Torque Motors. 
(C) Alternating-Current Adjustable Voltage Motors.

NEC 2023 Article 450 Transformers 
Part I. General
450.1 Scope.
450.2 Interconnection of Transformers.
450.3 Overcurrent Protection.
    (A) Transformers Over 1000 Volts, Nominal.
    (B) Transformers 1000 Volts, Nominal, or Less.
430.72 (C) Control Circuit Transformer.
    (1) Class 1 Power-Limited, Class 2, or Class 3 Circuits.
    (2) Transformers.
    (3) Less Than 50 Volt-Amperes.
    (4) Primary Less Than 2 Amperes.
    (5) Other Means. 
    (C) Voltage (Potential) Transformers.
450.4 Autotransformers 1000 Volts, Nominal, or Less.
    (A) Overcurrent Protection.
    (B) Transformer Field-Connected as an Autotransformer.
450.5 Grounding Autotransformers.
(A) Three-Phase, 4-Wire System.
    (1) Connections.
    (2) Overcurrent Protection.
    (3) Transformer Fault Sensing.
    (4) Rating.
(B) Ground Reference for Fault Protection Devices.
    (1) Rating.
    (2) Overcurrent protection shall comply with 450.5(B)(2)(a) and (B)(2)(b).
(C) Ground Reference for Damping Transitory Overvoltages.
450.6 Secondary Ties.
(A) Tie Circuits.
    (1) Loads at Transformer Supply Points Only.
    (2) Loads Connected Between Transformer Supply Points.
    (3) Tie Circuit Protection.
    (4) Interconnection of Phase Conductors Between Transformer Supply Points.
(a) Interconnected. 
(b) Not Interconnected. 
    (5) Tie Circuit Control.
(B) Overcurrent Protection for Secondary Connections.
(C) Grounding.
450.7 Parallel Operation.
450.8 Guarding.
    (A) Mechanical Protection.
    (B) Case or Enclosure.
    (C) Exposed Energized Parts.
    (D) Voltage Warning.
450.9 Ventilation.
450.10 Grounding and Bonding.
    (A) Dry-Type Transformer Enclosures.
    (B) Other Metal Parts.
450.11 Marking.
    (A) General.
    (B) Source Marking.
450.12 Terminal Wiring Space.
450.13 Accessibility.
    (A) Open Installations.
    (B) Hollow Space Installations.
450.14 Disconnecting Means.

NEC 2023 Article 450 Transformers Installation
Part II. Installation
450.21 Dry-Type Transformers Installed Indoors.
    (A) Not Over 112½ kVA.
    (B) Over 112½ kVA.
    (C) Over 35,000 Volts.
450.22 Dry-Type Transformers Installed Outdoors.
450.23 Less-Flammable Liquid-Insulated Transformers.
    (A) Indoor Installations.
    (B) Outdoor Installations.
450.24 Nonflammable Fluid-Insulated Transformers.
450.25 Askarel-Insulated Transformers Installed Indoors.
450.26 Oil-Insulated Transformers Installed Indoors.
450.27 Oil-Insulated Transformers Installed Outdoors.
450.28 Modification of Transformers.

NEC 2023 Article 620.21 Car Wiring Methods
Flexible metal conduit, liquidtight flexible metal conduit, or liquidtight flexible nonmetallic conduit of metric designator 12 (trade size 3⁄8), or larger, not exceeding 1.8 m (6 ft) in length, shall be permitted on cars where so located as to be free from oil and if securely fastened in place.
Article 400 Flexible Cords and Flexible Cables Part I.
General
400.1 Scope. This article covers general requirements, applications, and construction specifications for flexible cords and flexible cables.
400.2 Other Articles.  
400.3 Suitability. 
400.4 Types.

NEC 2023 Article 620.22 Car Light Receptacles Vent
620.22 Branch Circuits for Car Lighting, Receptacle(s), Ventilation, Heating, and Air-Conditioning.
    (A) Car Light Receptacles, Auxiliary Lighting, and Ventilation.
    (B) Air-Conditioning and Heating Source.

NEC 2023 Article 620.24 Pit Lighting & Receptacles
620.24 Branch Circuit for Hoistway Pit Lighting and Receptacles.
    (A) Separate Branch Circuits.
    (B) Lighting Switch.
    (C) Duplex Receptacle.
620.6 Ground-Fault Circuit-Interrupter Protection for Personnel.
    (A) Pits, Hoistways, and on Cars.
    (B) Machine Rooms, Control Spaces, Machinery Spaces and Control Rooms.
    (C) Sump Pumps.

NEC 2023 Article 620.21 Pit Wiring Methods
Wiring methods shall be permitted in the pit in lengths not to exceed 1.8 m (6 ft).
Article 400 Flexible Cords and Flexible Cables Part I. General
400.1 Scope.
400.2 Other Articles. 
400.3 Suitability. 
400.4 Types

NEC 2023 Article 620.21 Hoistway Wiring Methods
620.21 Hoistway Wiring Methods.
Wiring methods shall be permitted in the hoistway in lengths not to exceed 1.8 m (6 ft).
1. Flexible metal conduit.
2. Liquid tight flexible metal conduit.
3. Liquid tight flexible nonmetallic conduit.
4. Flexible cords and cables, or conductors grouped together and taped or corded, shall be                permitted to be installed without a raceway. 

NEC 2023 Article 620.32 Metal & Nonmetallic Wireways
Part IV. Installation of Conductors
620.32 Metal Wireways and Nonmetallic Wireways.
620.33 Number of Conductors in Raceways.
620.34 Supports
620.35 Auxiliary Gutters.
366.10(C) Extended Distance of Auxiliary Gutters.
366.22 Number of Conductors.
    (A) Sheet Metal Auxiliary Gutters.
    (B) Nonmetallic Auxiliary Gutters.
620.36 Different Systems in One Raceway or Traveling Cable.
620.37 Wiring in Hoistways, Machine Rooms, Control Rooms, Machinery Spaces, and Control Spaces.
    (A) Uses Permitted.
    (B) Lightning Protection.
250.106 Lightning Protection Systems.
    (C) Feeders.

NEC 2023 Article 620.41 Traveling Cables
Part V. Traveling Cables
620.41 Suspension of Traveling Cables.
Traveling cables shall be suspended at the car and hoistways’ ends, or counterweight end where applicable, so as to reduce the strain on the individual copper conductors to a minimum.
620.42 Hazardous (Classified) Locations.
620.43 Location of and Protection for Cables.
620.44 Installation of Traveling Cables.
 
Exam

## National Electric Code Course For Escalators             2 Hours

NEC 2023 Article 110 Part II 110.26 Equipment Marking
110.21 Marking.
(A) Equipment Markings.
    (1) General.
    (2) Reconditioned Equipment.
(B) Field-Applied Hazard Markings.

NEC 2023 Article 430.7 Motor Marking
430.7 Marking on Motors and Multimotor Equipment.
(A) Usual Motor Applications.
(B) Locked-Rotor Indicating Code Letters.
    (1) Multispeed Motors.
    (2) Single-Speed Motors.
    (3) Dual-Voltage Motors.
    (4) 50/60 Hz Motors.
    (5) Part-Winding Motors.
(C) Torque Motors.
(D) Multimotor and Combination-Load Equipment.
   (1) Factory-Wired.
   (2) Not Factory-Wired.

NEC 2023 Article 650.51 Disconnecting Means
620.51 Disconnecting Means.
(A) Type.
110.25 Lockable Disconnecting Means.
(3) On Escalators and Moving Walks.
Identification and Signs.
(1) Available Fault Current Field Marking.
110.21 Marking.
(B) Field-Applied Hazard Markings.
1. The marking shall be of sufficient durability to withstand the environment involved and warn of the hazards using effective words, colors, symbols, or any combination thereof.
2. The marking shall be permanently affixed to the equipment or wiring method and shall not be handwritten.

NEC 2023 Article 620.61 Overcurrent Protection
620.61 Overcurrent Protection.
Overcurrent protection shall be provided in accordance with 620.61(A) through (D).
(A) Operating Devices and Control and Signaling Circuits.
724.43 Class 1 Circuit Overcurrent Protection.
724.45 Class 1 Circuit Overcurrent
Device Location.
    (A) Point of Supply.
    (B) Feeder Taps.
    (C) Branch-Circuit Taps.
    (D) Primary Side of Transformer.
    (E) Input Side of Electronic Power Source.
(B) Overload Protection for Motors.
Motor and branch-circuit overload protection shall conform to Article 430, Part III,(Motor and Branch-Curcuit Overload Protection) and 620.61(B)(1) through (B)(4) (Overcurrent Protection for Motors).
(2) Duty Rating on Escalator Motors.
Duty on escalator and moving walk driving machine motors shall be rated as continuous. Such motors shall be protected against overload in accordance with 430.32 (Continuous-Duty Motors).
(3) Overload Protection.
(C) Motor Feeder Short-Circuit and Ground-Fault Protection.
(D) Motor Branch-Circuit Short-Circuit and Ground-Fault Protection.
620.62 Selective Coordination.  
620.65 Signage.

NEC 2023 Article 620.82 Grounding and Bonding 
Part V. 
250.90 General.
Bonding shall be provided if necessary to ensure electrical continuity and the capacity to conduct safely any fault current likely to be imposed.250.92 Services.
(A) Bonding of Equipment for Services.
(B) Method of Bonding at the Service.
     (A) The Intersystem Bonding Termination Device.
     (B) Other Means.
250.96 Bonding Other Enclosures.
    (A) General.
    (B) Isolated Grounding Circuits.
250.97 Bonding for Over 250 Volts to Ground.
250.98 Bonding Loosely Jointed Metal Raceways.
250.100 Bonding in Hazardous (Classified) Locations.
250.102 Grounded Conductor, Bonding Conductors, and Jumpers.
    (A) Material.
    (B) Attachment.
    (C) Size — Supply-Side Bonding Jumper.
     (1) Size for Supply Conductors in a Single Raceway or Cable.
     (2) Size for Parallel Conductor Installations in Two or More Raceways or Cables.
(D) Size — Equipment Bonding Jumper on Load Side of an Overcurrent Device. 
(E) Installation.
     (1) Inside a Raceway or an Enclosure. 
     (2) Outside a Raceway or an Enclosure.  
     (3) Protection.
Structural Metal.
Exposed structural metal that is interconnected to form a metal building frame, is not intentionally grounded or bonded, and is likely to become energized shall be bonded. If exposed structural metal that is interconnected to form the building frame exists in the area served by the separately derived system, it shall be bonded to the grounded conductor of each separately derived system. 
Common Grounding Electrode Conductor.
250.106 Lightning Protection Systems.
The lightning protection system ground terminals shall be bonded to the building or structure grounding electrode system.
Part VII. Methods of Equipment Grounding Conductor Connections
250.130 Equipment Grounding Conductor Connections.
      (A) For Grounded Systems.
      (B) For Ungrounded Systems.
      (C) Replacement of Nongrounding Receptacle or Snap Switch and Branch Circuit Extensions.
250.132 Short Sections of Raceway or Cable Armor.
250.134 Equipment Fastened in Place or Connected by Permanent Wiring Methods (Fixed).
250.136 Equipment Secured to a Metal Rack or Structure.
250.138 Cord-and-Plug-Connected Equipment.
    (A) By Means of an Equipment Grounding Conductor.
    (B) By Means of a Separate Flexible Wire or Strap.
250.142 Use of Grounded Circuit Conductor for Grounding Equipment.
    (A) Supply-Side Equipment.
    (B) Load-Side Equipment.
250.144 Multiple Circuit Connections.
250.146 Connecting Receptacle Grounding Terminal to an Equipment Grounding Conductor.
    (A) Surface-Mounted Box.
    (B) Contact Devices or Yokes.
    (C) Floor Boxes.
    (D) Isolated Ground Receptacles.
250.148 Continuity of Equipment Grounding Conductors and Attachment in Boxes.
    (A) Connections and Splices.
    (B) Equipment Grounding Conductor Continuity.
    (C) Metal Boxes. 
    (D) Nonmetallic Boxes.

NEC 2023 Article 620.21 Machine Room Wiring
Within Machine Rooms, Control Rooms, and Machinery Spaces and Control Spaces.
Escalators.
    (1) Wiring Methods. 
    (2) Class 2 Circuit Cables.
    (3) Flexible Cords.

NEC 2023 Article 620.23 Machine Room Branch Circuit’s
620.23 Branch Circuits for Machine Room, Control Room/Machinery Space, Control Space, or Truss Interior Lighting and Receptacle(s).
   (A) Separate Branch Circuits.
   (B) Lighting Switch.
   (C) Duplex Receptacle.

NEC 2023 Article 620.24 Escalator Receptacles
620.24 Branch Circuit for Escalator Receptacles.
620.6 Ground-Fault Circuit-Interrupter Protection for Personnel.
Truss Interiors.

NEC 2023 Article 620.25 Additional Branch Circuit’s
620.25 Branch Circuits for Other Utilization Equipment.
    (A) Additional Branch Circuits.
    (B) Overcurrent Devices.

NEC 2023 Article 430.6 Ampacity and Motor Rating
430.6 Conductor Ampacity and Motor Rating Determination.
(A) General Motor Applications.
For general motor applications, current ratings shall be determined based on 430.6(A)(1) and (A)(2).
430.22 Single Motor.
(B) Multispeed Motor.
430.52 Rating or Setting for Individual Motor Circuit.
    (A) General.
    (B) All Motors.
    (C) Rating or Setting.

(B) Torque Motors. 
(C) Alternating-Current Adjustable Voltage Motors.
(D) Valve Actuator Motor Assemblies.

NEC 2023 Article 450 Transformer General 
450.1 Scope.
450.2 Interconnection of Transformers.
450.3 Overcurrent Protection.
    (A) Transformers Over 1000 Volts, Nominal.
    (B) Transformers 1000 Volts, Nominal, or Less.
430.72 (C) Control Circuit Transformer.
    (1) Class 1 Power-Limited, Class 2, or Class 3 Circuits.
    (2) Transformer protection shall be permitted to be provided in accordance with 450.3(Overcurrent Protection).
    (3) Less Than 50 Volt-Amperes.
    (4) Primary Less Than 2 Amperes.
    (5) Other Means.  
450.4 Autotransformers 1000 Volts, Nominal, or Less.
    (A) Overcurrent Protection.
    (B) Transformer Field-Connected as an Autotransformer.
450.5 Grounding Autotransformers.
(A) Three-Phase, 4-Wire System.
    (1) Connections.
    (2) Overcurrent Protection.
    (3) Transformer Fault Sensing.
    (4) Rating.
(B) Ground Reference for Fault Protection Devices.
    (1) Rating.
    (2) Overcurrent Protection.
(C) Ground Reference for Damping Transitory Overvoltages.
450.6 Secondary Ties.
(A) Tie Circuits.
    (1) Loads at Transformer Supply Points Only.
    (2) Loads Connected Between Transformer Supply Points.
    (3) Tie Circuit Protection.
    (4) Interconnection of Phase Conductors Between Transformer Supply Points.
(a) Interconnected. 
(b) Not Interconnected
   (5) Tie Circuit Control.
(B) Overcurrent Protection for Secondary Connections.
(C) Grounding.
450.7 Parallel Operation.
450.8 Guarding.
    (A) Mechanical Protection.
    (B) Case or Enclosure.
    (C) Exposed Energized Parts.
    (D) Voltage Warning.
450.9 Ventilation.
450.10 Grounding and Bonding.
    (A) Dry-Type Transformer Enclosures.
    (B) Other Metal Parts.
450.11 Marking.
    (A) General.
    (B) Source Marking.

450.12 Terminal Wiring Space.
450.13 Accessibility.
    (A) Open Installations.
    (B) Hollow Space Installations.
450.14 Disconnecting Means.

Exam

Copyright 2013 National Elevator Industry Educational Program Trust Fund. The material contained herein may not be reproduced or used in any manner without the express written permission of the Board of Trustees of NEIEP. This course, like all other National Elevator Industry Educational Program publications, is intended to further the job-related education of each student enrolled in a NEIEP course. While recognizing that other procedures may produce like results, the NEIEP text material is intended to provide the student with tested procedures which have become standards within the elevator industry. The NEIEP writers and staff strive for accuracy and authenticity in this course and in all their publications. However, NEIEP neither claims nor accepts legal responsibility for absolute accuracy in its publications. NEIEP recognizes that the information presented in this course must be used only in conjunction with the applicable manufacturer's instructions, the Standard Agreement, and national, state, and local codes.