| ! RocketCert, LLC 408 N Cedar Bluff Rd Suite 236 Knoxville, TN 37923 800-495-6612 | Purpose The purpose of this twelve (12) hour electrical Continuing Education course is to provide the licensee with a better knowledge and understanding of the most significant changes to the 2023 National electrical code(NEC). Objectives - Recognize the interrupting rates needed for equipment intended to interrupt current at fault levels. - Understand the use and identification of grounded conductors. - Recognize the minimum ampacity and size of conductors. - Identify the proper way for grounding and bonding in hazardous locations. - Described the installation and use of a cablebus. - Recognize the unique hazards that cannabis oil extraction equipment has on the electrical profession. - Identify emergency systems and their capacity. - Identify equipment grounding conductors. | 606.6 |
| --- | --- | --- |
|  | Article 110 General Requirements for Electrical Installations - 110.3(A) Examination. - 110.3(B) Installation and Use. - 110.8 Wiring Methods. - 110.9 Interrupting Rating. - 110.12 Mechanical Execution of Work. - 110.12(C) Cables and Conductors. - 110.14(A) Terminals. - 110.14(D) Terminal Connection Torque. - 110.16(A) General - 110.16(B) Service Equipment and Feeder Supplied Equipment. - 110.17 Servicing and Maintenance of Equipment. - 110.20 Reconditioned Equipment. - 110.20(A) Equipment Required to be Listed. - 110.20(B) Equipment Not Required to be Listed. - 110.20(C) Approved Equipment. - 110.21(A)(1) General. - 110.21(A)(2) Reconditioned Equipment. - Section Review | 13:31 |
|  | Article 110 General Requirements for Electrical Installations - Table 110.31 Minimum Distance from Fence to Live Parts. - 110.31(A)(4) Locks. - 110.33(A) Entrance. - 110.32 Work Space and Guarding - 110.51(B) Other Articles. - 110.53 Conductors - 110.58 Disconnecting Means. - 110.72 Cabling Work Space. Article 200 Use and Identification of Grounded Conductors - 200.2(A) Insulation. - 200.2(B) Continuity. - 200.4(A) Installation. - 200.6(A) Sizes 6 AWG or Smaller. - 200.6(B) Sizes 4 AWG or Larger. - 200.6(D) Grounded Conductors of Different Nominal Voltage Systems. - 200.7(C) Circuits of 50 Volts or More. - 200.10(A) Device Terminals. Article 210 Branch Circuits Not Over 1000 Volts ac, 1500 Volts dc, Nominal - 210.1 Scope. - 210.2 Reconditioned Equipment. - 210.4(A) General. - Section Review | 11:32 |
|  | Article 210 Branch Circuits Not Over 1000 Volts ac, 1500 Volts dc, Nominal - 210.12(A) Means of Protection. - 210.12(B) Dwelling Units - 210.12(C) Dormitory Units. - 210.12(D) Other Occupancies. - 210.13 Ground-Fault Protection of Equipment. - 210.17 Guest Rooms and Guest Suites. - 210.18 Rating. - 210.19 Conductors - Minimum Ampacity and Size. - 210.19(A) General. - 210.19(B) Branch Circuits Over 600 Volts. - 210.19(B)(1) General. - 210.19(B)(2) Supervised Installations. - 210.20 Overcurrent Protection. - 210.21(3) Receptacle Ratings. - Table 210.21(B)(3) Receptacle Rating for Circuits Serving More than One Receptacle or Receptacle Outlet. - 210.23 Permissible Loads, Multiple-Outlet Branch Circuits. - 210.23(A) 10-Ampere Branch Circuits. - 210.23(A)(1) Loads Permitted for 10-Ampere Branch Circuits. - Section Review | 14:24 |
|  | Article 220 Branch Circuit, Feeder, and Service Load Calculations - 220.11(A) Motor-Operated and Combination Loads. - 220.11(C) Electric Cooking Appliances. - 220.14 Other Loads — All Occupancies. - 220.14(C) Motor Outlets. - 220.14(H) Fixed Multioutlet Assemblies. - 220.14(I) Receptacle Outlets. - 220.14(J) Receptacle Outlets in Office Buildings. - 220.18 Maximum Loads. - 220.18(A) Motor-Operated and Combination Loads. - 220.18(B) Inductive and LED Lighting Loads. - 220.18(C) Range Loads. - 220.40 General. - 220.41 Dwelling Units, Minimum Unit Load. - 220.43 Office Buildings. - 220.44 Hotel and Motel Occupancies. - 220.50(A) Motors. - 220.50(B) Air-Conditioning Equipment. - 220.51 Fixed Electric Space Heating. - 220.53 Appliance Load — Dwelling Unit(s). - 220.56 Kitchen Equipment — Other Than Dwelling Unit(s). - 220.57 Electric Vehicle Supply Equipment (EVSE) Load. - 220.60 Noncoincident Loads. - 220.61 Feeder or Service Neutral Load. (B) Permitted Reductions. - Section Review | 15:36 |
|  | Article 220 Branch-Circuit, Feeder, and Service Load Calculations - 220.70 Energy Management Systems (EMSs). - 220.83 Existing Dwelling Unit. - 220.85 Two Dwelling Units. - 220.87 Determining Existing Loads. - 220.110 Receptacle Loads. - Table 220.110(1) Demand Factors for Receptacles Supplied by General-Purpose Branch Circuits in Category 1 and Category 2 Patient Care Spaces - Table 220.110(2) Demand Factors for Receptacles Supplied by General-Purpose Branch Circuits in Category 3 and Category 4 Patient Care Spaces - 220.120 Receptacle Loads. - Table 220.120 Demand Factors for Shore Power Receptacle Loads Article 225 Outside Branch Circuits and Feeders - 225.1 Scope. - 225.4 Conductor Insulation. - 225.5 Size of Conductors 1000 Volts, Nominal, or Less. - 225.6(A) Overhead Spans. - 225.7(A) General. - 225.7(B) Common Neutral. - 225.7(C) 277 Volts to Ground. - 225.7(D) 1000 Volts Between Conductors. - 225.14 Open-Conductor Spacings. - 225.14(A) 1000 Volts, Nominal, or Less. - Section Review | 12:57 |
|  | Article 225 Outside Branch Circuits and Feeders - 225.14(B) Over 1000 Volts, Nominal. - 225.27 Raceway Seal. - 225.31(A) General. - 225.31(B) Location. - 225.41 Emergency Disconnects. - 225.41(A)(1) Location. - 225.41(A)(2) Rating. - 225.41(A)(3) Grouping. - 225.41(B) Identification of Other Isolation Disconnects. - 225.41(C) Marking. - 225.42(A) Surge-Protective Device. - 225.42(B) Location. - 225.42(C) Type. - 225.42(D) Replacement. - 225.42(E) Ratings. Article 230 Services - 230.1 Scope. - 230.2 Number of Services. - 230.24(A) Above Roofs. - 230.30(B) Wiring Methods. - 230.33 Spliced Conductors. - Section Review | 12:28 |
|  | Article 235 Branch Circuits, Feeders, and Services Over 1000 Volts ac, 1500 Volts dc, Nominal - 235.5(A) Grounded Conductor. - 235.5(B) Equipment Grounding Conductor. - 235.5(C) Ungrounded Conductors. - 235.5(C)(1) Branch Circuits Supplied from More Than One Nominal Voltage System. - 235.5(C)(2) Branch Circuits Supplied from Direct-Current Systems. - 235.6 Branch-Circuit Voltage Limitations Over 1000 volts ac or 1500 volts dc, Nominal, Between Conductors. - 235.9 Circuits Derived from Autotransformers. - 235.10 Ungrounded Conductors Tapped from Grounded Systems. - 235.11 Branch Circuits Required. - 235.18 Rating. - 235.19 Conductors — Minimum Ampacity and Size. - 235.19(A) General. - 235.19(B) Supervised Installations. - 235.20 Overcurrent Protection. - 235.20(A) Continuous and Noncontinuous Loads. - 235.20(B) Conductor Protection. - 235.22 Permissible Loads, Individual Branch Circuits. - 235.23 Permissible Loads, Multiple-Outlet Branch Circuits. - Section Review | 13:38 |
|  | Article 235 Branch Circuits, Feeders, and Services Over 1000 Volts ac, 1500 Volts dc, Nominal - 235.356(A)(1) Instrument Transformers. - 235.356(A)(2) Protective Relays. - 235.356(A)(3) Switching Circuits. - 235.356(A)(4) Control and Signal Circuits. - 235.356(A)(5) Metering Circuits. - 235.356(A)(6) Acceptance Tests. - 235.356(A)(7) Relays and Metering Utilizing Phase Differences. - 235.356(B) Test Report. - Section Review | 10:05 |
|  | Article 235 Branch Circuits, Feeders, and Services Over 1000 Volts ac, 1500 Volts dc, Nominal - 235.404(B) Fuses as Isolating Switch. - 235.404(C) Accessible to Qualified Persons Only. - 235.404(D) Connection to Ground. - 235.405(A) Location. - 235.405(B) Type. - 235.405(C) Remote Control. - 235.406 Overcurrent Devices as Disconnecting Means. - 235.408 Protection Requirements. - 235.408(A) Equipment Type. - 235.408(B) Enclosed Overcurrent Devices. - 235.409 Surge Arresters. - 235.410 Service Equipment — General. - 235.411 Switchgear. - Section Review | 12:35 |
|  | Article 235 Branch Circuits, Feeders, and Services Over 1000 Volts ac, 1500 Volts dc, Nominal - 235.412 Over 35,000 Volts. Article 240 Overcurrent Protection - 240.2(A) Reconditioning Not Permitted. - 240.2(B) Reconditioning Permitted. - 240.4(B) Overcurrent Devices Rated 800 Amperes or Less. - 240.4(D)(1) 18 AWG Copper. - 240.4(D)(2) 16 AWG Copper. - 240.4(D)(3) 14 AWG Copper-Clad Aluminum. - 240.4(H) Dwelling Unit Service and Feeder Conductors. - 240.6(C) Local Restricted Access Adjustable-Trip Circuit Breakers. - 240.6(D) Remotely Accessible Adjustable-Trip Circuit Breakers. - Section Review | 12:07 |
|  | Article 245 Overcurrent Protection for Systems Rated Over 1000 Volts ac, 1500 Volts dc - 245.21(B)(6) Fuseholders. - 245.21(B)(7) High-Voltage Fuses. - 245.21(C)(1) Installation. - 245.21(C)(2) Operation. - 245.21(C)(3) Interrupting Rating. - 245.21(C)(4) Voltage Rating. - 245.21(C)(5) Identification. - 245.21(C)(6) Fuse Links. - 245.21(C)(7) Structure Mounted Outdoors. - 245.21(D)(1) Continuous Current Rating. - Section Review | 12:00 |
|  | Article 245 Overcurrent Protection for Systems Rated Over 1000 Volts ac, 1500 Volts dc - 245.21(D)(2) Interrupting Rating. - 245.21(D)(3) Voltage Rating. - 245.21(D)(4) Fault Closing Rating. - 245.21(D)(5) Identification. - 245.21(D)(6) Fuse Links. - 245.21(D)(7) Location. - 245.21(D)(8) Enclosure. - 245.21(E) Load Interrupters. - 245.21(E)(1) Continuous Current Rating. - 245.21(E)(2) Voltage Rating. - Section Review | 11:03 |
|  | Article 245 Overcurrent Protection for Systems Rated Over 1000 Vols ac, 1500 Volts dc - 245.21(E)(3) Identification. - 245.21(E)(4) Switching of Conductors. - 245.21(E)(5) Stored Energy for Opening. - 245.21(E)(6) Supply Terminals. - 245.26(A) Location and Type of Protection. - 245.26(A)(1) Overcurrent Relays and Current Transformers. - 245.26(A)(2) Fuses. - 245.26(B) Protective Devices. - 245.26(C) Conductor Protection - 245.27(A) Rating or Setting of Overcurrent Protective Devices. - Section Review | 11:53 |
|  | Article 245 Overcurrent Protection for Systems Rated Over 1000 Vols ac, 1500 Volts dc - 245.27(B) Feeder Taps. Article 250 Grounding and Bonding - 250.6(C) Currents Not Classified as Objectionable Currents. - 250.20 Alternating-Current Systems to Be Grounded. - 250.24(B) Load-Side Grounding Connections. - 250.24(D)(2) Parallel Conductors Connected in Parallel in Two or More Raceways or Cables. - 250.24(D)(4) High Impedance Grounded Service. - 250.24(E) Grounding Electrode Conductor. - 250.28(C) Attachment. - 250.30(3) Grounded Conductor. - 250.53(A) Rod, Pipe, and Plate Electrodes. - Section Review | 11:56 |
|  | Article 250 Grounding and Bonding - 250.64(B)(1) Not Exposed to Physical Damage. - 250.64(B)(2) Exposed to Physical Damage. - 250.64(D)(2) Individual Grounding Electrode Conductors. - 250.64(G) Enclosures with Ventilation Openings. - 250.66 Size of Alternating-Current Grounding Electrode Conductor. - 250.66(A) Connections to a Rod, Pipe, or Plate Electrode(s). - 250.68(C) Grounding Electrode Conductor Connections. - 250.70(B) Indoor Communications Systems. - 250.92(B) Method of Bonding at the Service. - 250.94 Bonding for Communications Systems. - 250.94(B) Other Means. - Section Review | 11:53 |
|  | Article 250 Grounding and Bonding - 250.100 Bonding in Hazardous (Classified) Locations. - 250.102(C)(2) Size for Parallel Conductor Installations in Two or More Raceways or Cables. - 250.104(C) Structural Metal. - 250.104(D)(1) Metal Water Piping System(s). - 250.109 Metal Enclosures. - 250.118(B) Not Permitted. - 250.130 Equipment Grounding Conductor Connections. - 250.130(C) Replacement of Nongrounding Receptacle or Snap Switch and Branch Circuit Extensions. - Section Review | 11:45 |
|  | Article 300 General Requirement for Wiring Methods and Materials - 300.7(B) Expansion, Expansion-Deflection, and Deflection Fittings. - 300.10 Electrical Continuity of Metal Raceways, Cable Armor, and Enclosures. - 300.11(C) Raceways Used as Means of Support. - 300.12 Mechanical Continuity — Raceways and Cables. - 300.14 Length of Free Conductors at Outlets, Junctions, and Switch Points. - 300.15 Boxes, Conduit Bodies, or Fittings — Where Required. - 300.15(G) Direct-Buried Conductors and cables. - 300.17 Number and Size of Conductors and Cables in Raceway. - 300.18(A) Complete Runs. - 300.19(B) Fire-Resistive Cables and Conductors. - 300.22 Wiring in Ducts Not Used for Air Handling, Fabricated Ducts for Environmental Air, and Other Spaces for Environmental Air (Plenums). - 300.22(C)(1) Wiring Methods. - 300.22(C)(3) Equipment. - 300.25 Exit Enclosures (Stair Towers). - 300.26 Remote-Control and Signaling Circuits Classification. Article 305 General Requirements for Wiring Methods and Materials for Systems Rated Over 1000 Volts ac, 1500 dc, Nominal - 305.1 Scope. - 305.3 Other Articles. - Table 305.3 Wiring Methods Permitted for Use in Systems Rated Over 1000 Volts ac, 1500 Volts dc, Nominal - 305.4 Conductors of Different Systems. - Section Review | 12:40 |
|  | Article 315 Medium Voltage Conductors, Cable, Cable Joints, and Cable Terminations - 315.17(A) Required Information for Type MV Cable Joints, Terminations, and Connectors. - 315.17(B) Method of Marking for Type MV Cable Joints, Terminations, and Connectors. - 315.17(B)(1) Surface Marking. - 315.17(B)(2) Tag Marking. - 315.17(C) Optional Markings. - 315.30 Installation. - 315.32(A) Type MV Cable. - 315.32(B) Type MV Cable Joints and Terminations. - 315.44 Shielding. - 315.45 Shielding at Type MV Cable Joints and Terminations. Article 320 Armored Cable: Type AC - 320.23(A) Cables Run Across the Top of Framing Members. - 320.30(A) General. Article 324 Flat Cable Assemblies: Type FC - 324.42(B) Receptacles and Housings. Article 330 Metal-Clad Cable: Type MC - 330.30(A) General. - 330.112(A) 1000 Volts or Less. Article 335 Instrumentation Tray Cable: Type ITC - 335.1 Scope. - 335.3 Other Articles. - Section Review | 12:15 |
|  | Article 335 Instrumentation Tray Cable: Type ITC - 335.4 Uses Permitted. - 335.5 Uses Not Permitted. - 335.6 Construction. - 335.7 Marking. - 335.8 Ampacity. - 335.9 Overcurrent Protection. - 335.10 Bends. Article 336 Power and Control Tray: Type ITC - 336.10 Uses Permitted. - 336.104(B) Thermocouple Circuits. - 336.104(C) Class 1 Circuit Conductors. Article 337 Type P Cable - 337.80 Ampacity. - 337.108 Equipment Grounding Conductor. - 337.115 Jacket. - 337.116 Armor. Article 338 Service-Entrance Cable: Types SE and USE - 338.24 Bending Radius. Article 340 Underground Feeder and Branch-Circuit Cable: Type UF - 340.10 Uses Permitted. - 340.24 Bending Radius. Article 342 Intermediate Metal Conduit (IMC) - 342.10(B) Corrosion Environments. - 342.20(B) Maximum. - Section Review | 12:07 |
|  | Article 370 Cablebus - 370.18(A) Transversely Routed. - 370.18(B) Through Dry Floors and Platforms. - 370.18(C) Through Floors and Platforms in Wet Locations. - 370.23 Overcurrent Protection. - 370.60 Grounding. - 370.80 Ampacity of Conductors. - 370.120(A) Nameplates. - 370.120(B) Identification. Article 371 Flexible Bus Systems - 371.1 Scope. - 371.6 Listing Requirements. - 371.10 Uses Permitted. - 371.12 Uses Not Permitted. - 371.14 Installation Design. - 371.17 Overcurrent Protection. - 371.17(A) Rating of Overcurrent Protection — Services. - 371.17(B) Rating of Overcurrent Protection — Feeders. - 371.17(C) Rating of Overcurrent Protection — Branch Circuits. - 371.17(D) Transformer Secondary Flexible Bus Systems. - 371.17(E) Flexible Bus Systems from Generator Terminals. - 371.17(F) Flexible Bus Systems from Battery Terminals. - Section Review | 13:54 |
|  | Article 374 Cellular Metal Floor Raceways - 374.6 Listing Requirements. Article 376 Metal Wireways - 376.60 Grounding. Article 392 Cable Trays - 392.10 Uses Permitted. - 392.10(B)(1) Single-Conductor Cables and Single Insulated Conductors. - 392.56 Cable Splices and Type MV Cable Joints. Article 393 Low-Voltage Suspended Ceiling Power Distribution Systems - 393.6(B) Assembly of Listed Parts. Article 394 Article 394 Concealed Knob-and-Tube Wiring - 394.104 Conductors. Article 398 Open Wiring on Insulators - 398.15(C) Exposed to Physical Damage. - 398.104 Conductors. Article 400 Flexible Cords and Flexible Cables - 400.40 General. - 400.41 Portable Power Feeder Cables. - 400.42 Uses Permitted. - 400.43 Uses Not Permitted. - 400.44(A) Conductors. - 400.44(B) Nominal Insulation Thickness. - Table 400.44(B)(1) Thickness of Insulation for Three-Conductor Type G Portable Power Feeder Cables Rated 2000 Volts to 5000 Volts and Equipment Grounding Conductor Size - Table 400.44(B)(2) Thickness of Insulation for Single Conductor Type SH Portable Power Feeder Cables Rated 2000 Volts to 25,000 Volts for 100 Percent Insulation Level - Table 400.44(B)(3) Thickness of Insulation for Three-Conductor Type SHD and SHD-GC Portable Power Feeder Cables Rated 2000 Volts to 25,000 Volts for 100 Percent Insulation Level and Grounding Conductor Size - Table 400.44(B)(4) Thickness of Insulation for Three-Conductor Type SHD-CGC Portable Power Feeder Cables Rated 2000 Volts to 5000 Volts for 100 Percent Insulation Level and Grounding Conductor Size - 400.44(C) Equipment Grounding Conductor(s). - 400.45 Shielding. - 400.46 Equipment Grounding Conductors. - 400.47 Minimum Bending Radii. - Section Review | 14:16 |
|  | Article 410 Luminaires, Lampholders, and Lamps - 410.195(C) Dwellings. - 410.195(D) Mounting Height. - 410.197 Germicidal Irradiation Systems. - 410.197(B) System Components. - 410.197(C) Installation. - 410.197(D) Dwellings. Article 411 Low-Voltage Lighting - 411.3 Voltage Limitations. - 411.7(A) Grounding. Article 422 Appliances - 422.3 Other Articles. - 422.13 Storage-Type Water Heaters. - 422.15 Central Vacuum Outlet Assemblies. (A) - 422.15 Central Vacuum Outlet Assemblies. (B) - 422.15 Central Vacuum Outlet Assemblies. - 422.16(A) General. - 422.16(2) Built-in Dishwashers and Trash Compactors. - 422.18(B) Location. - 422.43(A) Heater Cords. - 422.43(B) Other Heating Appliances. - 422.46 Flatirons. - 422.50 Cord-and-Plug-Connected Pipe Heating Assemblies. Article 424 Fixed Electric Space-Heating Equipment - 424.3 Other Articles. - Table 424.3 Other Articles - 424.4(B) Branch-Circuit Conductor Sizing. - Section Review | 13:01 |
|  | Article 501 Class I Locations - 501.141(A)(2) Nonincendive Field Wiring Applications. - 501.141(B) Installation. - 501.141(B)(1) Cable Types. - 501.141(B)(2) Termination Means. - 501.141(B)(3) Disconnection. Article 502 Class II Locations - 502.15 Sealing, Class II, Divisions 1 and 2. - 502.30(A) Grounding. Article 503 Class III Locations - 503.10 Wiring Methods. - 503.10(A)(1) General. - 503.10(A)(3) Flexible Connections. - Section Review | 11:24 |
|  | Article 503 Class III Locations - 503.30(A) Grounding. Article 504 Intrinsically Safe Systems - 504.60(A) Intrinsically Safe Apparatus. - 504.60(B) Metal Raceways. Article 505 Zone 0, 1, and 2 Locations - 505.1(B) Not Covered. - 505.8(O) Protection by Impedance Heating “IEEE 844.3”. - 505.8(P) Pressurized Room "p". - 505.8(Q) Special Protection "s". - 505.9(C)(2) Zone Equipment. - 505.9(E)(3) Unused Openings. - 505.15(C)(2) Flexible Connections. - Section Review | 11:21 |
|  | Article 511 Commercial Garages, Repair and Storage - 511.2 Other Articles. - Table 511.2 Other Articles - 511.4(A) Wiring Located in Class I Locations. - 511.4(B) Equipment Located in Class I Locations. Article 512 Cannabis Oil Equipment and Cannabis Oil Systems Using Flammable Materials - 512.1 Scope. - 512.2 Other Articles. - Table 512.2 Other Articles - 512.3 Classified Locations. - 512.3(A)(1) Where Flammable Gases or Vapors Are Released. - 512.3(A)(2) Where Flammable Gases or Vapors Are Not Released, Except During Disconnection or Opening. - 512.3(B) Cannabis Oil Booths. - 512.3(B)(1) Where Flammable Gases or Vapors Are Released. - 512.3(B)(2) Where Flammable Gases or Vapors Are Not Released, Except During Disconnection or Opening. - 512.10 Equipment and Systems. - 512.13 Wiring Installed Above Hazardous (Classified) Locations. - 512.20 Equipment and Systems. - 512.20(A) Cannabis Oil Preparatory Equipment. - 512.20(B) Cannabis Oil Extraction Equipment. - Section Review | 13:51 |
|  | Article 516 Spray Application, Dipping, Coating, and Printing Processes Using Flammable or Combustible Materials - 516.7(A) Wiring. - 516.38(A) Wiring. Article 517 Health Care Facilities - 517.1 Scope. - 517.6 Patient Care–Related Electrical Equipment. - 517.10(B) Not Covered. - 517.11 General Installation — Construction Criteria. - 517.13 Equipment Grounding Conductor for Receptacles and Fixed Electrical Equipment in Patient Care Spaces. - 517.14 Panelboard Bonding. - 517.20(A) Receptacles and Fixed Equipment. - 517.22 Demand Factors. - 517.30(A) Two Independent Power Sources. - 517.30(B) Power Sources for the EES. - 517.30(B)(1) Utility Supply Power. - 517.30(B)(2) Generating Units. - 517.30(B)(4) Energy Storage Systems. - 517.30(B)(5) Health Care Microgrid. - 517.41(A) Two Independent Power Sources. - Section Review | 15:19 |
|  | Article 530 Motion Picture Projection Rooms - 530.3(B) Remote Locations. - 530.4 Supervision by Qualified Personnel. - 530.5 Wiring Methods. - 530.5(A) General. - 530.5(B) Communications, Signaling Systems, Data Systems, Fire Alarm Systems, and Systems Less than 120 Volts, Nominal. - 530.8 Equipment Grounding Conductor. - 530.9(B) Construction. - 530.10(A) General. - 530.10(B) Paralleled Input Devices. - 530.10(C) Supply Feed-Through Outlets. - 530.11 Branch Circuits. - 530.12(A) Live Parts. - 530.21(A) Listing. - 530.21(B) Outdoor Use. - 530.22(D) Portable Feeder Cable Penetration of Walls, Floors, or Ceilings. - 530.22(F) Special-Purpose Multicircuit Cable Systems. - 530.23 Overcurrent Protection. - 530.23(A) Portable Stage Cables. - 530.23(B) Portable Single Conductor Feeder Cables Using Single-Pole Separable Connectors. - 530.23(C) DC Plugging Boxes. - Section Review | 14:29 |
|  | Article 555 Marinas, Boatyards, Floating Building, and Commercial and Noncommercial Docking Facilities - 555.14(B) Areas Not Requiring Equipotential Planes. - 555.15 Replacement of Equipment. - 555.30(A) General. - 555.30(B) Fixed Piers. - 555.30(B) Replacements. - 555.34(A)(1) General. - 555.34(A)(2) Portable Power Cables. - 555.34(A)(3) Temporary Wiring. - 555.34(B)(4) Protection. - Section Review | 10:08 |
|  | Article 590 Temporary Installations - 590.8(B) Service Overcurrent Protective Devices. Article 600 Electric Signs and Outline Lighting - 600.4(E) Durability. - 600.5(A) Required Branch Circuit. - 600.5(D)(2) Enclosures as Pull Boxes. - 600.5(D)(3) Metal or Nonmetallic Poles. - 600.6(A) Location. - 600.7(B)(7) Bonding Conductors. Article 604 Manufactured Wiring Systems - 604.100(A)(1) Cables. - 604.100(A)(2) Conduits and Tubing. Article 610 Cranes and Hoists - Article 610 Cranes and Hoists - 610.13(D) Class 1, Class 2, and Class 3 Circuits. Article 620 Elevators, Dumbwaiters, Escalators, Moving Walks, Platform Lifts, and Stairway Chairlifts - 620.1 Scope. - 620.12(A)(2) Class 2 and Communications Circuits. - 620.12(A)(4) Paralleled Conductors. - 620.21(A)(1) Hoistways and Pits. - 620.21(B)(2) Class 2 Circuit Cables. - 620.21(C)(2) Class 2 Circuit Cables. - 620.22(A) Car Light Receptacles, Auxiliary Lighting, and Ventilation. - 620.22(B) Air-Conditioning and Heating Source. - Section Review | 16:33 |
|  | Article 645 Information Technology Equipment - 645.18 Surge Protection for Critical Operations Data Systems. Article 646 Modular Data Centers - 646.1 Scope. - 646.3(H) storage batteries - 646.5 Nameplate Data. - 646.19 Entrance to and Egress from Working Space. Article 647 Sensitive Electronic Equipment - 647.7(A) General. Article 660 X-Ray Equipment - 660.48 Grounding. Article 665 Induction and Dielectric Heating Equipment - 665.11 Overcurrent Protection. Article 670 Industrial Machinery - 670.3(A) Permanent Nameplate. - 670.4(B) Disconnecting Means. - 670.6 Overvoltage Protection. Article 680 Swimming Pools, Fountains, and Similar Installations - 680.5(B) 150 Volts or Less to Ground. - 680.5(C) Above 150 Volts to Ground. - 680.7(A) Feeders and Branch Circuits. - 680.7(B) Cord-and-Plug Connections. - 680.7(C) Terminals. - 680.9(A) Power. - 680.10(A) Electric Pool Water Heaters. - Section Review | 15:19 |
|  | Article 691 Large-Scale Photo - 691.4 Special Requirements for Large-Scale PV Electric Supply Stations. - 691.10 Fire Mitigation. Article 692 Fuel Cell Systems - 692.4(B) Identification of Power Sources. - 692.4(C) System Installation. - 692.31 Wiring Systems. - 692.41 System Grounding. Article 694 Wind Electric Systems - 694.7 Construction and Maintenance. - Section Review | 10:07 |
|  | Article 700 Emergency Systems - 700.4(A) Capacity. - 700.4(B) Selective Load Management. - 700.4(C) Parallel Operation. - 700.4(C)(1) Normal Source. - 700.4(C)(2) Emergency Source. - 700.5(D) Redundant Transfer Equipment. - 700.5(E) Use. - 700.6 Signals. - 700.6(B) Carrying Load. - 700.6(C) Storage Battery Charging Malfunction. - 700.10(B) Wiring. - 700.10(D)(4) Source Control Wiring. - 700.11(A) General. - 700.11(B) Identification. - 700.11(C) Separation of Circuits. - 700.11(D) Protection. - Section Review | 16:05 |
|  | Article 700 Emergency Systems - 700.12(C) Supply Duration. - 700.12(E) Stored-Energy Power Supply Systems (SEPSS). - 700.12(E)(1) Types. - 700.12(E)(2) Fire Protection, Suppression, Ventilation, and Separation. - 700.12(G) Microgrid Systems. - 700.12(H)(1) Listing. - 700.12(H)(2) Installation. - 700.24 Directly Controlled Emergency Luminaires. - 700.32(B) Replacements. - 700.32(C) Modifications. Article 701 Legally Required Standby Systems - 701.1 Scope. - 701.2 Reconditioned Equipment. - 701.4(B) Capacity. - 701.4(D) Parallel Operation. - 701.4(D)(1) Normal Source. - Section Review | 16:21 |
|  | Article 702 Optional Standby Systems - 702.4(A) Available Fault Current. - 702.5(A) General. - 702.5(D) Inadvertent Interconnection. - 702.12(B) Portable Generators 15 kW or Less. - 702.12(C) Power Inlets Rated at 100 Amperes or Greater, for Portable Generators. Article 705 Interconnected Electric Power Production Sources - 705.5(A) Output Compatibility. - 705.5(B) Synchronous Generators. - 705.6 Equipment Approval. - 705.11(A) Service Connections. - 705.11(B) Conductors. - Section Review | 11:03 |
|  | Article 705 Interconnected Electric Power Production Sources - 705.11(C) Connections. - 705.11(D) Service Disconnecting Means. - 705.11(E) Bonding and Grounding. - 705.11(F) Overcurrent Protection. - 705.12 Load-Side Source Connections. - 705.13 Energy Management Systems (EMS). - 705.13(A) Monitoring. - 705.13(B) Settings. - 705.13(C) Overcurrent Protection. - 705.13(D) Single Power Source Rating. - 705.13(E) Access to Settings. - 705.14 Output Characteristics. - 705.16 Interrupting and Short-Circuit Current Rating. - 705.20 Source Disconnecting Means. - 705.25 Wiring Methods. - 705.25(A) General. - 705.25(C) Multiconductor Cable Assemblies. - Section Review | 13:35 |
|  | Article 722 Cables for Power-Limited Circuits and Fault-Managed Power Circuits - 722.3(E) Cable Trays. - 722.3(F) Instrumentation Tray Cable. - 722.3(G) Raceways or Sleeves Exposed to Different Temperatures. - 722.3(H) Vertical Support for Fire-Resistive Cables and Conductors. - 722.3(I) Installation of Cables with Other Systems. - 722.3(J) Corrosive, Damp, or Wet Locations. - 722.3(K) Cable Routing Assemblies. - 722.3(L) Communications Raceways. - 722.3(M) Temperature Limitation of Cables. - 722.3(N) Identification of Equipment Grounding Conductors. - Section Review | 12:04 |
|  | Article 722 Cables for Power-Limited Circuits and Class 1 Power-Limited Remote-Control and Signaling Circuits - 722.3(O) Specific Requirements. - 722.10 Hazardous (Classified) Locations. - 722.12 Uses Not Permitted. - 722.21 Access to Electrical Equipment Behind Panels Designed to Allow Access. - 722.24(A) General. - 722.24(B) Support of Cables. - 722.24(C) Circuit Integrity (CI) Cable. - 722.25 Abandoned Cables. - 722.135 Installation of Cables. - 722.135(A) Listing. - Section Review | 11:00 |
|  | Article 722 Cables for Power-Limited Circuits and Class 1 Power-Limited Remote-Control and Signaling Circuits - 722.135(B) Cables in Buildings. - Table 722.135(B) Installation of Listed Cables in Buildings. - 722.135(D) In Hoistways. - 722.135(E) Cable Substitutions. - Table 722.135(E) Cable Substitutions - 722.135(H) Bundling of 4-Pair Cables Transmitting Power and Data. - 722.179 Listing and Marking of Cables. - 722.179(A) Listing of Cables. - 722.179(A)(1) Plenum Cable. - 722.179(A)(2) Riser Cable. - Section Review | 11:18 |
|  | Article 722 Cables for Power-Limited Circuits and Class 1 Power-Limited Remote-Control and Signaling Circuits - 722.179(A)(4) Listing of Cables. General-Purpose Cable. - 722.179(A)(4) Alternative General-Purpose Cable. - 722.179(A)(5) Limited-Use Cable. - 722.179(A)(6) Type PLTC. - 722.179(A)(7) Circuit Integrity (CI) Cable, Fire-Resistive Cable System, or Electrical Circuit Protective System. - Section Review | 11:50 |
|  | Article 722 Cables for Power-Limited Circuits and Fault Managed Power Circuits - 722.179(A)(16)(5) Cabling. - 722.179(B) Marking. - Table 722.179(B) Cable Type Markings - 722.179(C) Optional Markings. Article 724 Class 1 Power-Limited Circuits and Class 1 Power-Limited Remote-Control and Signaling Circuits - 724.1 Scope. - 724.3 Other Articles. - 724.3(A) Number and Size of Conductors in Raceway. - Section Review | 10:13 |
|  | Article 724 Class 1 Power-Limited Circuits and Class 1 Power-Limited Remote-Control and Signaling Circuits - 724.31 Safety-Control Equipment. - 724.40 Class 1 Circuits. - 724.40(B) Other Class 1 Power Sources. - 724.43 Class 1 Circuit Overcurrent Protection. - 724.45 Class 1 Circuit Overcurrent Device Location. - 724.45(A) Point of Supply. - 724.45(B) Feeder Taps. - 724.45(C) Branch-Circuit Taps. - 724.45(D) Primary Side of Transformer. - Section Review | 10:03 |
|  | Article 724 Class 1 Power-Limited Circuits and Class 1 Power-Limited Remote-Control and Signaling Circuits - 724.51(B) Power-Supply Conductors and Class 1 Circuit Conductors. - 724.51(C) Class 1 Circuit Conductors in Cable Trays. - 724.52 Circuits Extending Beyond One Building. Article 725 Class 2 and Class 3 Power-Limited Circuits - 725.1 Scope - 725.3 Other Articles. - 725.3(A) Spread of Fire or Products of Combustion. - 725.3(B) Ducts, Plenums, and Other Air-Handling Spaces. - 725.3(C) Motor Control Circuits. - 725.3(D) Identification of Equipment Grounding Conductors. - 725.3(E) Cables for Class 2 and Class 3 Circuits. - 725.24 Mechanical Execution of Work. - 725.25 Abandoned Cables. - 725.30 Class 2 and Class 3 Circuit Identification. - 725.31 Safety-Control Equipment. - 725.35 Class 1, Class 2, and Class 3 Circuit Requirements. - 725.41 Class 1 Circuit Classifications and Power Source Requirements. - 725.43 Class 1 Circuit Overcurrent Protection. - 725.45 Class 1 Circuit Overcurrent Device Location. - 725.46 Class 1 Circuit Wiring Methods. - 725.48 Conductors of Different Circuits in the Same Cable, Cable Tray, Enclosure, or Raceway. - Section Review | 12:51 |
|  | Article 750 Energy Management Systems - 750.30(C) Capacity of Branch Circuit, Feeder, or Service. - 750.30(C)(1) Current Setpoint. - 750.30(C)(2) System Malfunction. - 750.30(C)(3) Settings. - 750.30(C)(4) Marking. - 750.50 Directory. Article 760 Fire Alarm Systems - 760.3(O) Cables for Power-Limited Fire Alarm (PLFA) Circuits. - 760.10 Hazardous (Classified) Locations. - 760.24(A) General. - 760.32 Fire Alarm Circuits Extending Beyond One Building. - 760.33 Supply-Side Overvoltage Protection. - 760.124 Circuit Marking. - 760.130 Wiring Methods and Materials on Load Side of the PLFA Power Source. - 760.130(A) NPLFA Wiring Methods and Materials. - 760.130(B) PLFA Wiring Methods and Materials. - 760.130(B)(3) Nonconcealed Spaces. - 760.130(B)(4) Portable Fire Alarm Systems. - 760.133 Installation of Conductors and Equipment in Cables, Compartments, Cable Trays, Enclosures, Manholes, Outlet Boxes, Device Boxes, Raceways, and Cable Routing Assemblies for Power-Limited Fire Alarm Circuits. - 760.136(G) Where Protected. - 760.139(C) Class 3 and Communications Circuits with PLFA Circuits. - 760.139(E) Audio System Circuits and PLFA Circuits. - 760.176 Listing and Marking of NPLFA Cables. - Section Review | 14:05 |
|  | Article 800 General Requirements for Communications Systems - 800.113(D) Risers — Cables, Cable Routing Assemblies, and Communications Raceways in Vertical Runs. - 800.113(D)(2) Uses Not Permitted. - 800.113(E) Risers — Cables and Innerducts in Metal Raceways. - 800.113(E)(2) Uses Not Permitted. - 800.113(F) Risers — Cables, Cable Routing Assemblies, and Communications Raceways in Fireproof Shafts. - 800.113(F)(2) Uses Not Permitted. - 800.113(G) Risers — One- and Two-Family Dwellings. - 800.113(G)(2) Uses Not Permitted. - 800.113(H) Cable Trays. - Section Review | 10:40 |
|  | Article 800 General Requirements for Communications Systems - 800.113(H)(2) Uses Not Permitted. - 800.113(I) Distributing Frames and Cross-Connect Arrays. - 800.113(I)(2) Uses Not Permitted. - 800.113(J) Other Building Locations. - 800.113(J)(2) Uses Not Permitted. - 800.113(K) Multifamily Dwellings. - 800.113(K)(2) Uses Not Permitted. - 800.113(L) One- and Two-Family Dwellings. - 800.113(L)(2) Uses Not Permitted. - 800.133 Installation of Communications Wires and Cables and CATV-Type Coaxial Cables. - 800.133(A)(1) Other Circuits. - 800.133(A)(2) Class 2 and Class 3 Circuits. - Section Review | 11:03 |
|  | Article 800 General Requirements for Communications Systems - 800.179(E)(2) Fire-Resistive Cable Systems. - 800.179(E)(3) Electrical Circuit Protective System. - 800.179(F) Types CMP-LP, CMR-LP, CMG-LP, and CM-LP Limited Power (LP) Cables. - 800.179(G) Type CMUC Undercarpet Wires and Cables. - 800.179(H) Communications Wires. - 800.179(I) Optional Markings. Article 805 Communications Cables - 805.47 Underground Communications Wires and Cables Entering Buildings – Underground Block Distribution - 805.170 Protectors. Article 810 Antenna Systems - 810.4 Community Television Antenna. - 810.14 Splices. - 810.15 Grounding or Bonding. - 810.70 Separation from Other Conductors. Article 830 Network-Powered Broadband Communications Systems - 830.133(C) Splicing of Medium-Powered Network-Powered Communications Cables. - 830.160 Bends. Article 840 Premises-Powered Broadband Communications Systems - 840.47 Underground Wires and Cables Entering Buildings. - Section Review | 13:05 |