## First 100
NEC 2026 Changes Part 1 (8 hours)
| NEC Code Section | NEC Subject Topic | Time in minutes
1 | Global | New Articles and Structure. | 4
2 | 90.2 | Scope and Application. | 4
3 | 90.3 | Code Arrangement. | 5
4 | 90.5(C) | Explanatory Material. | 4
5 | Article 100 | Accessible, Readily. (Readily Accessible). | 5
6 | Article 100 | Appliance. | 4
7 | Article 100 | Grounding Electrode Bonding Jumper | 5
8 | Article 100 | Cable, Limited-Energy. (Limited-Energy Cable) | 4
9 | Article 100 | Cable Tie. | 5
10 | Article 100 | Cannabis Oil Booths. | 6
11 | Article 100 | Dormitory. | 4
12 | Article 100 | Electric Self-Propelled Vehicle (ESV). | 5
13 | Article 100 | Ground-Fault Circuit Interrupter, Special Purpose (SPGFCI). | 6
14 | Article 100 | Deleted: In Sight From. | 4
15 | Article 100 | Limited-Energy System. | 5
16 | Article 100 | Line-to-Ground. Line-to-Line. Line-to-Neutral. | 5
17 | Article 100 | Metering Centers (Meter Center). | 5
18 | Article 100 | Overcurrent Protective Device. | 5
19 | Article 100 | Deletion of Panelboard Enclosed. | 5
20 | Article 100 | Pool. | 6
21 | Article 100 | Power Control System (PCS). | 5
22 | Article 100 | Receptacle, Weather-Resistant (WR). (Weather-Resistant Receptacle) | 4
23 | Article 100 | Transformer Secondary Conductor. | 5
24 | Article 100 | Wiring Device. | 4
25 | 110.3(A)(8) | Informational Note 4 on Cybersecurity. | 5
26 | 110.3(B) | Installation and Use. | 4
27 | 110.1 | Available Fault Current, Short-Circuit Current Ratings, and Other Characteristics. | 5
28 | 110.16 | Arc-Flash Hazard Marking. | 4
29 | 110.26 | Spaces About Electrical Equipment. | 5
30 | 110.26(A) | Working Space. | 6
31 | 110.26(A)(1) | Depth of Working Space. | 5
32 | 110.26(C)(2) | Large Equipment. | 4
33 | 110.29 | In Sight From (Within Sight). | 4
34 | Article 120 | Branch-Circuit, Feeder, and Service Load Calculations. | 5
35 | 120.5 | Calculations. | 4
36 | 120.7 | Power Control Systems. | 5
37 | 120.13 | Branch Circuit Loads at Dwelling Units. | 5
38 | 120.54 | Electric Clothes Dryers -Dwelling Units. | 5
39 | 120.83 | Existing Dwelling Units. | 5
40 | Article 130 | Energy Management Systems. | 6
41 | Article 206 | Non-Power-Limited Remote-Control and Signaling Circuits. | 5
42 | Article 210 | Branch Circuits. | 4
43 | 210.8 | Ground-Fault Circuit-Interrupter Protection for Personnel. | 5
44 | 210.8(A) | GFCI Protection at Dwelling Units. | 4
45 | 210.8(F) | GFCI Protection for Outdoor Outlets. | 5
46 | 210.12(B) | AFCI Protection at Dwelling Units. | 6
47 | 210.12(C) | AFCI Protection at Dormitories. | 5
48 | 210.12(E) | Branch Circuit Wiring Extensions, Modifications, or Replacements. | 4
49 | 210.14 | Table 210.14 Relocation. | 5
50 | 210.22 & 210.23 | Permissible loads and 10-amp Branch Circuits. | 6
51 | 210.52(A)(2)(1) | Receptacles and Wall Space. | 4
52 | 210.52(A)(5) | Receptacle Outlet Locations Prohibited. | 5
53 | 210.52(C)(2) | Island and Peninsular Countertops and Work Surfaces. | 6
54 | 210.52(C)(4) | Countertops and Work Surfaces. | 6
55 | 210.52(D) | Bathrooms. | 4
56 | 210.63(B) | Service Receptacle for Other Electrical Equipment. | 5
57 | 210.7 | Lighting Outlets Required. | 5
58 | 215.12(C) | Feeder Identification. | 5
59 | 215.18 | Surge Protection. | 5
60 | 225.31 | Disconnecting Means. | 6
61 | 225.41 | Emergency Disconnects. | 5
62 | 230.2 | Listing Requirements for Service Equipment. | 4
63 | 230.46 | Spliced and Tapped Conductors. | 5
64 | 230.66 | Marking. | 4
65 | 230.67 | Surge Protection. | 5
66 | 230.70(A)&(B) | Service Disconnect Location and Marking. | 4
67 | 230.70(D) | Identification of Other Source Disconnects. | 5
68 | 230.70(E) | Service Equipment Replacement. | 4
69 | 230.71 | Maximum Number of Service Disconnects. | 5
70 | 230.82 | Equipment Connected to the Supply Side of Service Disconnect. | 6
71 | 230.85 | Deletion of Emergency Disconnects. | 4
72 | 230.95 | Ground-Fault Protection of Equipment (GFPE). | 4
73 | 240.2 & 240.3 | Listing and Reconditioned Equipment. | 4
74 | 240.6(B), (C), and (D) | Adjustable Trip Circuit Breakers. | 4
75 | 240.7 | Overcurrent Protective Devices. | 4
76 | 240.24(E) | Overcurrent Devices in Bathrooms. | 5
77 | 245.2 | Listing for OCPDs Over 1000 Volts. | 5
78 | 250.1 & 250.4 | Grounding and Bonding Scope, and General Requirements. | 4
79 | 250.8(A) | Permitted Methods of Grounding and Bonding. | 5
80 | 250.64(C) | Continuous GEC. | 6
81 | 250.64(G) | Enclosures with Ventilation, Mounting, or Drainage Openings. | 5
82 | 250.94(A) | Intersystem Bonding Termination (IBT) Devices. | 4
83 | 250.109 | Metal and Nonmetallic Enclosures. | 5
84 | 250.118 | Types of Equipment Grounding Conductors. | 6
85 | Article 265 | Branch Circuits Over 1000 Volts ac, 1500 Volts dc, Nominal. | 5
86 | Article 266 | Feeders Over 1000 Volts ac, 1500 Volts dc, Nominal. | 4
87 | Article 267 | Outside Branch Circuits and Feeders Over 1000 Volts ac, 1500 Volts dc, Nominal. | 5
88 | Article 268 | Services Over 1000 Volts ac, 1500 Volts dc, Nominal. | 4
89 | Article 270 | Grounding and Bonding of Systems over 1000 Volts ac, 1500 Volts dc, Nominal. | 5
90 | 300.4(C) | Damaged Conductors and Wiring Methods. | 6
91 | 300.6(E) | Wiring Methods and Materials in or Under Roof Decking. | 4
92 | 300.6(G) | Fittings. | 6
93 | 300.7(D)(3) | Service Conductors and Raceways. | 5
94 | 300.9 | Raceways Exposed to Different Temperatures. | 4
95 | 300.13(B) &(C) | Securing and Supporting Wiring Systems Installed Above Suspended Ceilings. | 6
96 | 300.13(E) | Cable Ties Used as Means of Securement and Support. | 5
97 | 300.17(F) | Accessibility of Fittings. | 5
98 | 300.2 | Raceway Installations. | 4
99 | 300.24 | Bends. | 5
100 | 310.10(D) | Conductors Exposed to Direct Sunlight. | 6
|  | Total time in minutes | 482