## Second 100
NEC 2026 Changes Part 2 (8 hours)
| NEC Code Section | NEC Subject Topic | 4
1 | 310.12 | Single-Phase Dwelling Services and Feeders. | 5
2 | 310.14(A)(2) | Selection of Conductor Ampacity. | 6
3 | 310.15(E) | Neutral Conductors. | 5
4 | Table 310.16 | Ampacity Table 310.16. | 6
5 | 312.3 | Reconditioned Equipment. | 5
6 | 312.8(C) | Cables Entering Cabinets Cutout Boxes and Meter Socket Enclosures. | 4
7 | 312.11(A) | Splices, Taps, and Feed-Through Conductors. | 5
8 | 314.2 | Listing. | 4
9 | 314.5 | Nonmetallic Boxes. | 5
10 | 314.16(B) | Box Fill Calculations. | 4
11 | 314.22 | Surface Extensions. | 5
12 | 314.23(E) | Raceway-Supported Enclosures Without Devices or Luminaires. | 4
13 | 314.23(F) | Raceway-Supported Enclosures With Devices or Luminaires. | 5
14 | 314.27(B) | Boxes at Ceiling-Suspended (Paddle) Fan Outlets. | 6
15 | 330.2 | Listing Requirements. | 6
16 | 334.10(3) | Uses Permitted. | 4
17 | 334.24 | Bending Radius. | 4
18 | 336.1 | Tray Cable Uses Permitted. | 4
19 | 344.29 | Terminations. | 4
20 | 392.18(F) | Cable Tray Access. | 5
21 | 404.1(A) | Switches Covered. | 5
22 | 404.3 | Switch Enclosures with Doors or Hinged Covers. | 6
23 | 406.1 | Wiring Devices. | 5
24 | 406.1 | Wiring Device Terminations. | 6
25 | 406.12(D) | Receptacle Replacements. | 4
26 | 406.26 | Tamper-Resistant Receptacles. | 5
27 | 408.6 | Short-Circuit Current Rating. | 6
28 | 408.10(F) | Switchboard, Switchgear, or Panelboard Identification. | 5
29 | 410 Part XI | Deletion of Construction Requirements. | 6
30 | 410.184 | GFCI and SPGFCI Protection for Horticultural Lighting Equipment. | 5
31 | 422.12 | Central Heating Equipment. | 4
32 | 426 Part VI | Part VI Conductive Pavement Heating Systems. | 5
33 | 427 | Fixed Electric Heating Equipment for Pipelines, Vessels, and Other Applications for Trace Heating. | 4
34 | 430.22(H) | Design BE and CE Motors. | 5
35 | 430.98(A) | Motor Control Center Marking. | 4
36 | 430.132 | GFCI and SPGFCI Between Power Conversion Equipment and Motors. | 5
37 | 440.2 | Listing Requirements. | 4
38 | 440.4 | Marking on Hermetic Refrigerant Motor-Compressors and Equipment. | 5
39 | 440.11 | HVAC Disconnecting Means. | 6
40 | 440.15 | Split-System Indoor Unit Identification. | 6
41 | 445.19 | Generator Remote Emergency Shutdown. | 4
42 | 450.12(A) | Grounding and Bonding Dry-Type Transformer Enclosures. | 4
43 | Article 480 | Stationary Batteries. | 4
44 | 495.2 | Listing Requirements for Equipment Over 1000 Volts ac, 1500 volts dc. | 4
45 | 500.3 | Bonding in Hazardous (Classified) Locations. | 5
46 | 501.3 | Reconditioned Equipment. | 5
47 | 501.15(A)(4) | Class I, Division 1 Boundary Conduit Seals. | 6
48 | 501.130(C) | Luminaire Retrofit Kits. | 5
49 | 512.6 | Cannabis Extraction. Prohibited Locations. | 6
50 | 514.11(A) | Emergency Electrical Disconnects. | 4
51 | 517.13(A) | Patient Care Space Wiring Methods. | 5
52 | 517.15 | Multiwire Branch Circuits. | 6
53 | 517.8 | Class 2 lighting Circuits in Patient Care Spaces. | 5
54 | 547.44(C) | Equipotential Plane Construction. | 6
55 | 550.51(E) | Surge Protection at Replacement Mobile Homes or Manufactured Homes. | 5
56 | 555.14(A) | Equipotential Plane Construction. | 4
57 | 555.15 | Servicing and Replacing of Equipment. | 5
58 | 590.6(E) | Lamp Protection for Temporary Installations. | 4
59 | 600.4 | Sign Markings. | 5
60 | 620.16(C) | Elevator Control Panel Field Marking. | 4
61 | 620.51(E) | Surge Protection. | 5
62 | 620.62 | Elevator Selective Coordination. | 4
63 | Article 624 | Electric Self-Propelled Vehicle Power Transfer Systems (ESVSEs). | 5
64 | 625.5 | EVSE Field Markings. | 6
65 | 625.43 | EVSE Disconnecting Means. | 6
66 | 625.44 | EVSE Equipment Connection. | 4
67 | 680.5(B) | GFCI Protection 150 Volts or Less to Ground. | 4
68 | 680.22(B) | Luminaires, Lighting Outlets, Festoon Lighting, and Ceiling Fans. | 4
69 | 680.26(B) | Equipotential Bonding. | 4
70 | 680.26(B)(2) | Perimeter Surfaces. | 5
71 | 680.26(B)(5) | Metal Fittings and Metal Structures. | 5
72 | 690.2 | PV Equipment Listing. | 6
73 | 690.4(G) | Fractions of an Ampere or Volt. | 5
74 | 690.7(A) | Determining Maximum DC Voltage in PV Source Circuits. | 6
75 | 690.8(A) | Calculation of Maximum Circuit Current. | 4
76 | 690.8(B) | PV circuit Conductor Ampacity. | 5
77 | 690.12 | Rapid Shutdown of PV Systems on Buildings. | 6
78 | 690.13 | PV System Disconnecting Means. | 5
79 | 690.31(B) | PV Circuit Identification and Grouping. | 6
80 | 690.31(C) | Wires and Cables. | 5
81 | 690.33 | Mating Connectors. | 4
82 | 690.41(B) | DC Ground-Fault Detector-Interrupter (GFDI) Protection. | 5
83 | 690.47 | PV System Grounding Electrode System. | 4
84 | 695.7(A) | Power Wiring. | 5
85 | 700.4(F) | Temporary Source of Power for Servicing of the Alternate Source of Power. | 4
86 | 700.10(D) | Fire Protection. | 5
87 | 700.11(D) | Wiring Protection of Class 2 and Class 4 Powered Emergency Lighting Systems. | 4
88 | 700.12(G) | Battery-Equipped Emergency Luminaires. | 5
89 | 702.4(A) | System Capacity and Multimode Inverter-Based Systems. | 6
90 | 705.11 | Source Connections to a Service. | 3
91 | 705.13 | Power Control Systems (PCSs). | 4
92 | 705.25(B) | Wiring Methods. | 4
93 | 705.32 | Ground-Fault Protection. | 4
94 | 706.15(B) | ESS Disconnecting Means Location and Control. | 4
95 | Chapter 7 | New Chapter 7 Articles for Limited Energy System Wiring Methods and Materials. | 5
96 | Article 725 | Class 2 and Class 3 Power-Limited Circuits. | 5
97 | 760.41(B) | NPLFA Circuit Power Source Branch Circuit. | 3
98 | Chapter 8 | General Requirements for Communications Systems Outside and Entering Buildings. | 5
99 | Annex J | Removal of Annex J. | 6
100 | Annex L | Proposed Organization of the 2029 National Electrical Code. | 4
|  | Total time in minutes | 486