## 16hr UT wSafety
16 Hours For 2026 License Renewal (Course Outline) (Timed)
| NEC Code Section | NEC Subject Topic | Time (Minutes)
2026 NEC Changes
| Global | New Articles and Structure. | 4
| 90.2 | Scope and Application. | 4
| 90.3 | Code Arrangement. | 4
| 90.5(C) | Explanatory Material. | 4
| Article 100 | Accessible, Readily. (Readily Accessible). | 4
| Article 100 | Appliance. | 4
| Article 100 | Grounding Electrode Bonding Jumper | 4
| Article 100 | Cable, Limited-Energy. (Limited-Energy Cable) | 4
| Article 100 | Cable Tie. | 4
| Article 100 | Dormitory. | 4
| Article 100 | Electric Self-Propelled Vehicle (ESV). | 4
| Article 100 | Ground-Fault Circuit Interrupter, Special Purpose (SPGFCI). | 4
| Article 100 | Deleted: In Sight From. | 4
| Article 100 | Limited-Energy System. | 4
| Article 100 | Line-to-Ground. Line-to-Line. Line-to-Neutral. | 4
| Article 100 | Metering Centers (Meter Center). | 4
| Article 100 | Overcurrent Protective Device. | 4
| Article 100 | Deletion of Panelboard Enclosed. | 4
| Article 100 | Power Control System (PCS). | 4
| Article 100 | Transformer Secondary Conductor. | 4
| Article 100 | Wiring Device. | 4
| 110.3(A)(8) | Informational Note 4 on Cybersecurity. | 4
| 110.3(B) | Installation and Use. | 4
| 110.1 | Available Fault Current, Short-Circuit Current Ratings, and Other Characteristics. | 4
| 110.16 | Arc-Flash Hazard Marking. | 4
| 110.26 | Spaces About Electrical Equipment. | 4
| 110.26(A) | Working Space. | 4
| 110.26(A)(1) | Depth of Working Space. | 4
| 110.26(C)(2) | Large Equipment. | 4
| 110.29 | In Sight From (Within Sight). | 4
| Article 120 | Branch-Circuit, Feeder, and Service Load Calculations. | 4
| 120.5 | Calculations. | 4
| 120.7 | Power Control Systems. | 4
| 120.13 | Branch Circuit Loads at Dwelling Units. | 4
| 120.54 | Electric Clothes Dryers -Dwelling Units. | 4
| Article 130 | Energy Management Systems. | 4
| Article 206 | Non-Power-Limited Remote-Control and Signaling Circuits. | 4
| Article 210 | Branch Circuits. | 4
| 210.8 | Ground-Fault Circuit-Interrupter Protection for Personnel. | 4
| 210.8(A) | GFCI Protection at Dwelling Units. | 4
| 210.8(F) | GFCI Protection for Outdoor Outlets. | 4
| 210.12(B) | AFCI Protection at Dwelling Units. | 4
| 210.12(C) | AFCI Protection at Dormitories. | 4
| 210.12(E) | Branch Circuit Wiring Extensions, Modifications, or Replacements. | 4
| 210.22 & 210.23 | Permissible loads and 10-amp Branch Circuits. | 4
| 210.52(A)(2)(1) | Receptacles and Wall Space. | 4
| 210.52(A)(5) | Receptacle Outlet Locations Prohibited. | 4
| 210.52(C)(2) | Island and Peninsular Countertops and Work Surfaces. | 4
| 210.52(C)(4) | Countertops and Work Surfaces. | 4
| 210.52(D) | Bathrooms. | 4
| 210.63(B) | Service Receptacle for Other Electrical Equipment. | 4
| 210.7 | Lighting Outlets Required. | 4
| 215.12(C) | Feeder Identification. | 4
| 215.18 | Surge Protection. | 4
| 225.31 | Disconnecting Means. | 4
| 225.41 | Emergency Disconnects. | 4
| 230.2 | Listing Requirements for Service Equipment. | 4
| 230.46 | Spliced and Tapped Conductors. | 4
| 230.66 | Marking. | 4
| 230.67 | Surge Protection. | 4
| 230.70(A)&(B) | Service Disconnect Location and Marking. | 4
| 230.70(D) | Identification of Other Source Disconnects. | 4
| 230.70(E) | Service Equipment Replacement. | 4
| 230.71 | Maximum Number of Service Disconnects. | 4
| 230.82 | Equipment Connected to the Supply Side of Service Disconnect. | 4
| 230.85 | Deletion of Emergency Disconnects. | 4
| 230.95 | Ground-Fault Protection of Equipment (GFPE). | 4
| 240.2 & 240.3 | Listing and Reconditioned Equipment. | 4
| 240.6(B), (C), and (D) | Adjustable Trip Circuit Breakers. | 4
| 240.7 | Overcurrent Protective Devices. | 4
| 240.24(E) | Overcurrent Devices in Bathrooms. | 4
| 245.2 | Listing for OCPDs Over 1000 Volts. | 4
| 250.1 & 250.4 | Grounding and Bonding Scope, and General Requirements. | 4
| 250.8(A) | Permitted Methods of Grounding and Bonding. | 4
| 250.64(C) | Continuous GEC. | 4
| 250.64(G) | Enclosures with Ventilation, Mounting, or Drainage Openings. | 4
| 250.94(A) | Intersystem Bonding Termination (IBT) Devices. | 4
| 250.109 | Metal and Nonmetallic Enclosures. | 4
| 250.118 | Types of Equipment Grounding Conductors. | 4
| Article 265 | Branch Circuits Over 1000 Volts ac, 1500 Volts dc, Nominal. | 4
| Article 266 | Feeders Over 1000 Volts ac, 1500 Volts dc, Nominal. | 4
| Article 267 | Outside Branch Circuits and Feeders Over 1000 Volts ac, 1500 Volts dc, Nominal. | 4
| Article 268 | Services Over 1000 Volts ac, 1500 Volts dc, Nominal. | 4
| Article 270 | Grounding and Bonding of Systems over 1000 Volts ac, 1500 Volts dc, Nominal. | 4
| 300.4(C) | Damaged Conductors and Wiring Methods. | 4
| 300.6(E) | Wiring Methods and Materials in or Under Roof Decking. | 4
| 300.6(G) | Fittings. | 4
| 300.7(D)(3) | Service Conductors and Raceways. | 4
| 300.9 | Raceways Exposed to Different Temperatures. | 4
| 300.13(B) &(C) | Securing and Supporting Wiring Systems Installed Above Suspended Ceilings. | 4
| 300.13(E) | Cable Ties Used as Means of Securement and Support. | 4
| 300.17(F) | Accessibility of Fittings. | 4
| 300.2 | Raceway Installations. | 4
| 300.24 | Bends. | 4
| 310.10(D) | Conductors Exposed to Direct Sunlight. | 4
| 310.12 | Single-Phase Dwelling Services and Feeders. | 4
| 310.14(A)(2) | Selection of Conductor Ampacity. | 4
| 310.15(E) | Neutral Conductors. | 4
| Table 310.16 | Ampacity Table 310.16. | 4
| 312.8(C) | Cables Entering Cabinets Cutout Boxes and Meter Socket Enclosures. | 4
| 312.11(A) | Splices, Taps, and Feed-Through Conductors. | 4
| 314.5 | Nonmetallic Boxes. | 4
| 314.16(B) | Box Fill Calculations. | 4
| 314.22 | Surface Extensions. | 4
| 314.23(E) | Raceway-Supported Enclosures Without Devices or Luminaires. | 4
| 314.23(F) | Raceway-Supported Enclosures With Devices or Luminaires. | 4
| 314.27(B) | Boxes at Ceiling-Suspended (Paddle) Fan Outlets. | 4
| 330.2 | Listing Requirements. | 4
| 334.10(3) | Uses Permitted. | 4
| 334.24 | Bending Radius. | 4
| 336.1 | Tray Cable Uses Permitted. | 4
| 344.29 | Terminations. | 4
| 392.18(F) | Cable Tray Access. | 4
| 404.1(A) | Switches Covered. | 4
| 404.3 | Switch Enclosures with Doors or Hinged Covers. | 4
| 406.1 | Wiring Devices. | 4
| 406.1 | Wiring Device Terminations. | 4
| 406.12(D) | Receptacle Replacements. | 4
| 406.26 | Tamper-Resistant Receptacles. | 4
| 408.6 | Short-Circuit Current Rating. | 4
| 408.10(F) | Switchboard, Switchgear, or Panelboard Identification. | 4
| 410 Part XI | Deletion of Construction Requirements. | 4
| 410.184 | GFCI and SPGFCI Protection for Horticultural Lighting Equipment. | 4
| 422.12 | Central Heating Equipment. | 4
| 426 Part VI | Part VI Conductive Pavement Heating Systems. | 4
| 430.98(A) | Motor Control Center Marking. | 4
| 430.132 | GFCI and SPGFCI Between Power Conversion Equipment and Motors. | 4
| 440.4 | Marking on Hermetic Refrigerant Motor-Compressors and Equipment. | 4
| 440.11 | HVAC Disconnecting Means. | 4
| 440.15 | Split-System Indoor Unit Identification. | 4
| 445.19 | Generator Remote Emergency Shutdown. | 4
| 450.12(A) | Grounding and Bonding Dry-Type Transformer Enclosures. | 4
| 500.3 | Bonding in Hazardous (Classified) Locations. | 4
| 501.15(A)(4) | Class I, Division 1 Boundary Conduit Seals. | 4
| 501.130(C) | Luminaire Retrofit Kits. | 4
| 512.6 | Cannabis Extraction. Prohibited Locations. | 4
| 514.11(A) | Emergency Electrical Disconnects. | 4
| 517.13(A) | Patient Care Space Wiring Methods. | 4
| 517.15 | Multiwire Branch Circuits. | 4
| 550.51(E) | Surge Protection at Replacement Mobile Homes or Manufactured Homes. | 4
| 555.14(A) | Equipotential Plane Construction. | 4
| 555.15 | Servicing and Replacing of Equipment. | 4
| 590.6(E) | Lamp Protection for Temporary Installations. | 4
| 600.4 | Sign Markings. | 4
| 620.16(C) | Elevator Control Panel Field Marking. | 4
| 620.51(E) | Surge Protection. | 4
| Article 624 | Electric Self-Propelled Vehicle Power Transfer Systems (ESVSEs). | 4
| 625.5 | EVSE Field Markings. | 4
| 625.43 | EVSE Disconnecting Means. | 4
| 625.44 | EVSE Equipment Connection. | 4
| 680.5(B) | GFCI Protection 150 Volts or Less to Ground. | 4
| 680.22(B) | Luminaires, Lighting Outlets, Festoon Lighting, and Ceiling Fans. | 4
| 680.26(B) | Equipotential Bonding. | 4
| 680.26(B)(2) | Perimeter Surfaces. | 4
| 680.26(B)(5) | Metal Fittings and Metal Structures. | 4
| 690.8(B) | PV circuit Conductor Ampacity. | 4
| 690.12 | Rapid Shutdown of PV Systems on Buildings. | 4
| 690.13 | PV System Disconnecting Means. | 4
| 690.31(B) | PV Circuit Identification and Grouping. | 4
| 690.41(B) | DC Ground-Fault Detector-Interrupter (GFDI) Protection. | 4
| 690.47 | PV System Grounding Electrode System. | 4
| 695.7(A) | Power Wiring. | 4
| 700.4(F) | Temporary Source of Power for Servicing of the Alternate Source of Power. | 4
| 700.10(D) | Fire Protection. | 4
| 700.11(D) | Wiring Protection of Class 2 and Class 4 Powered Emergency Lighting Systems. | 4
| 700.12(G) | Battery-Equipped Emergency Luminaires. | 4
| 702.4(A) | System Capacity and Multimode Inverter-Based Systems. | 4
| 705.11 | Source Connections to a Service. | 4
| 705.13 | Power Control Systems (PCSs). | 4
| 705.25(B) | Wiring Methods. | 4
| 706.15(B) | ESS Disconnecting Means Location and Control. | 4
| Chapter 7 | New Chapter 7 Articles for Limited Energy System Wiring Methods and Materials. | 4
| Article 725 | Class 2 and Class 3 Power-Limited Circuits. | 4
| Chapter 8 | General Requirements for Communications Systems Outside and Entering Buildings. | 4
| Annex L | Proposed Organization of the 2029 National Electrical Code. | 4
NFPA 70E Safety
| 90.2 | NFPA 70E Purpose and Scope. | 4
| 100 | Article 100 Definitions. Arc Rating. | 4
| 100 | Article 100 Definitions. Boundary, Arc Flash. | 4
| 100 | Article 100 Definitions. Boundary, Limited and Restricted Approach. | 4
| 100 | Article 100 Definitions. Incident Energy. | 4
| 100 | Article 100 Definitions. Qualified Person. | 4
| 100 | Article 100 Definitions. Working Distance. | 4
| 110.5(I) | Job Safety Planning and Job Briefing. | 4
| 110.6(A)(1) | Training Requirements. Qualified Person. | 4
| 110.8 | Test Instruments and Equipment. | 4
| 110.8(E) | Operation Verification. | 4
| 120.4(A)(4) | Simple Lockout/Tagout Procedure. | 4
| 120.4(A)(5) | Complex Lockout/Tagout Procedure. | 4
| 120.4(B)(1-3) | Elements of Control. | 4
| 120.4(B)(4-6) | Elements of Control. | 4
| 120.4(B)(7) | Temporary Protective Grounding. | 4
| 120.4(B)(11) | Lockout/Tagout Application. | 4
| 120.5(1-6) | Process for Establishing and Verifying an Electrically Safe Work Condition. | 4
| 120.5(7) | Testing for Absence of Voltage. | 4
| 130.2(B) | Elements of an Energized Electrical Work Permit. | 4
| 130.4(E) | Shock Protection Boundaries. | 4
| Table 130.4(E)(a) | Shock Protection Approach Boundaries. | 4
| 130.5(C) | Estimate of the Likelihood of Occurrence of an Arc Flash Incident for ac and dc Systems. Exercise 1. | 4
| 130.7(C)(15)(a) | Arc-Flash Hazard PPE Categories for Alternating Current (ac) Systems. Exercise 1. | 4
| 130.7(C)(15)(c) | Protective Clothing and Personal Protective Equipment (PPE). | 4
|  | Total Time (In minutes): | 800
|  | UT 16 Hours Time Requirement | 16 Hours (800 Minutes)