# COURSE TITLE

2026 NEC Changes: Enclosures and Wiring Methods

# COURSE DURATION

1 Hour(s)

# OVERVIEW

This course reviews 2026 NEC requirements related to electrical enclosures and common wiring methods. It explores how the Code governs the installation and use of boxes, raceways, cables, and supporting hardware to ensure safe and accessible electrical systems.

Participants will examine enclosure requirements for electrical equipment, including accessibility of wiring within boxes and rating requirements for certain installations. The course also reviews permitted uses of common wiring methods such as MC cable, NM cable, and metal raceway systems, along with installation considerations like cable bending radius, raceway fittings, and conductor compatibility. Additional discussion highlights rules for support hardware, nonmetallic raceway sizing, and space requirements around cable tray systems. Together, these topics provide a practical understanding of NEC provisions that guide safe enclosure and wiring method installations.

# PREREQUISITES

No prior knowledge is required.

# BEHAVIORAL OBJECTIVES

After successfully completing this course, you will be able to:

- Explain when service conductors are allowed in enclosures with other conductors

- Describe when boxes are required to be rated for ceiling fans

- Recall the requirements for wiring accessibility in boxes

- List what types of support hardware requires a listing

- Describe when MC cable is allowed in wet locations

- List the requirements for NM cable in other than dwellings

- Recall the bending radius requirements for cables

- List the options for dissimilar metal contact in raceway systems

- Explain the requirements for terminating RMC and IMC

- State the rules for RMC and IMC fittings

- List the allowable sizes for various nonmetallic raceways

- Describe the free space rules around cable trays

# COURSE OUTLINE

| Chapter | Minutes |
| --- | --- |
| Introduction | 2 |
| Article 312 Cabinets, Cutout Boxes, and Meter Socket Enclosures | 5 |
| Article 314 Outlet, Device, Pull, and Junction Boxes, Conduit Bodies, Fittings, and Handhole Enclosures | 18 |
| Article 320 Armored Cable: Type AC | 3 |
| Article 330 Metal Clad Cable: Type MC | 2 |
| Article 334 Non-Metallic-Sheathed Cable: Types NM and NMC | 6 |
| Article 342 Intermediate Metal Conduit: Type IMC | 6 |
| Article 352 Rigid Polyvinyl Chloride Conduit: Type PVC | 8 |
| Article 392 Cable Trays | 4 |
| Conclusion | 2 |
| Course Total | 56 |
| + Knowledge Checks (10% Course Total) | 5 |
| = Grand Total | 61 |

# AVAILABILITY

This course is offered online and is available 24 hours a day, 7 days a week, 365 days a year.

# TRAINING METHODOLOGY & EVALUATION

This course is self-paced online training. Review exercises reinforce the content, and students are evaluated with a multiple-choice exam. Upon completion, students are prompted to submit a course evaluation.

REFERENCES

2026 NEC Code Book