Ewing-Foley, Inc. Continuing Education Training

12/12/2025

Electrical Continuing Education

4-Hour Power point slide presentation: NEC ARTICLES 240 & 242

Instructor Ralph Bliquez

APPLICATION FOR A 4-HOUR CODE CHANGE CLASS ON OVERCURRENT/OVERVOLTAGE PROTECTION

2023 NEC, ARTICLES 240 & 242

The scope of Article 240 provides the general requirements for overcurrent protection and overcurrent protective devices to provide protection for conductors and equipment if the current reaches a value that will cause an excessive or dangerous temperature that will damage the conductors, conductor insulation or equipment.

The following code articles that include changes and revisions in the 2023 NEC will be in the Power Point presentation:

240.2 Definitions: Changes in how definitions are sited in Chapter One

240.4(G)	Revisions

240.6(C)	Access to Adjustable Trip Breakers

240.21(B) Feeder Taps

240.33 Vertical Position

240.62 Reconditioned Equipment

240.67(A-C) Arc Energy Reduction (Fuses)

240.87 (A-C) Arc Energy Reduction (Breakers)

240.90 (B) Devices Rated over 800 Amps

These changes will be addressed as the class goes through the entire Article and should take substantial time.  My “dry” run-through took one hour for the changes.  The rest of Article 240 was two hours for a total of three hours.

Information on other articles in 240 can be found in the Power Point attached.

The scope of Article 242 is to provide the general requirements, installation requirements and connection requirements for overvoltage protection and overvoltage protective devices. Permanently installed Surge Protective Devices (<1000 volts nominal) and Surge Arresters (>1000 volts nominal) are treated separately

Note:  Every entry in Article 242 is “New” because the chapter is a combination of the previous Articles 280 and 285.

Specific attention will be given to the following two articles:

242.3 Specific Equipment Protection

242.6 Uses not Permitted

Article 242 is short and, with the changes, took one hour as I went through the entire article.

Information on other articles in 242 can be found in the Power Point attached.

COURSE OBJECTIVES

The objectives of the class on Articles 240 and 242 are to cover the general requirements for protection of conductors and equipment from hazardous overcurrent and overvoltage forces.

LEARNING OUTCOME

Electricians will understand the importance of the proper sizing and installation of overcurrent and overvoltage devices for the protection of conductors and equipment.

INSTRUCTOR

The instructor is Ralph Bliquez who is currently approved in Oregon, Washington, Idaho, California, Utah, Montana, and North Dakota