Continuing Ed Class								4 Hours

Electrical Safety NFPA 70 E

Interstates Construction

- What is an ARC Flash							.5 Hour

  - Video of Arc Flashes

  - Pictures/History of One Companies Experiences.

- Culture of Working in Energized Equipment				.25 Hour

  - Done it this way for years

  - The suit creates a larger Hazard.

- Arc Flash Dangers/Injuries						.5 Hour

  - Light

  - Heat

  - Concussion

  - Molten Metal

  - Sound

  - Injuries

    - 30,000 Non-fatal

    - 1,000 Fatal

- What Equipment to Work With.						.25 Hour

  - Switchgear

  - MCC

  - Meter Sockets

- Code Requirements from the NEC					.5

  - 110.16

  - 110.24 A & B

- NFPA 70 E								2 Hours

  - Chapter 1

    - Work Related Procedures

    - Risk Assessment

    - In-House People

    - Host Employer

    - Contract Employer

  - Use of Equipment

    - Testing and Test Equipment

    - Portable Equipment

    - GFCI

  - Establishing an Electrical Safe Working Condition

    - NFPA 70 E Article 120

      - LOTO Policy

        - Must be trained

        - Employees must follow it

        - Simple vs Complex LOTO

  - Article 130 Work Involving Electrical Hazards

    - De-Energizing the Equipment

      - Unless it create additional hazards

      - Is not Possible

  - Energized work Permit

  - Boundaries

    - Shock

    - Arc Flash

  - Labels

    - How to

    - Read one

  - Things to Think About

    - Alertness

    - Lighting

    - Location

  - What changes the effects of ARC Flashes?

    - Fusing types

    - Wire Length

    - Service Types

      - Solidly Grounded

      - High Resistant Ground (HRG) Systems

- PPE Requirements

  - Having the right protection

    - PPE is last form of protection

    - Ratings

- Qualified Person

  - Article 100 NEC