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Manual J, S & D for Builders
Understand how load calculations, equipment selection, and duct design work together to create an effective HVAC system. 
· Load calculations: Understanding how building size, insulation, windows, orientation, and other design features influence heating and cooling needs.
· Equipment selection: Matching equipment capacity and performance to the project’s calculated heating and cooling requirements.
· Duct design: Coordinating duct sizing, supply and return locations, and room airflow needs with the selected equipment.
· System coordination: Recognizing how changes to building plans, materials, or equipment can affect the overall HVAC design.
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