Manual J, S & D for Builders

Understand how load calculations, equipment selection, and duct design work together to create an effective HVAC system.

- Load calculations: Understanding how building size, insulation, windows, orientation, and other design features influence heating and cooling needs.

- Equipment selection: Matching equipment capacity and performance to the project’s calculated heating and cooling requirements.

- Duct design: Coordinating duct sizing, supply and return locations, and room airflow needs with the selected equipment.

- System coordination: Recognizing how changes to building plans, materials, or equipment can affect the overall HVAC design.