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Dust Design & Installation for Builders
Give builders, superintendents, remodelers, project managers and trade partners the practical knowledge needed to specify, coordinate, inspect and communicate about ductless and ducted mini-split heat-pump systems, with special attention to Utah climate conditions and callback prevention.
Learning Objectives
· Explain the basic operation and major configurations of mini-split heat-pump systems.
· Recognize why accurate load calculations and equipment sizing matter.
· Identify Utah-specific cold-weather, elevation, snow and outdoor-unit considerations.
· Coordinate indoor units, line sets, condensate, electrical work and framing before drywall.
· Recognize installation practices that commonly lead to comfort problems and callbacks.
· Ask HVAC contractors the right questions before approving a system.
image1.png
UTAH HOME BUILDERS ASSOCIATION




