Dust Design & Installation for Builders

Give builders, superintendents, remodelers, project managers and trade partners the practical knowledge needed to specify, coordinate, inspect and communicate about ductless and ducted mini-split heat-pump systems, with special attention to Utah climate conditions and callback prevention.

Learning Objectives

- Explain the basic operation and major configurations of mini-split heat-pump systems.

- Recognize why accurate load calculations and equipment sizing matter.

- Identify Utah-specific cold-weather, elevation, snow and outdoor-unit considerations.

- Coordinate indoor units, line sets, condensate, electrical work and framing before drywall.

- Recognize installation practices that commonly lead to comfort problems and callbacks.

- Ask HVAC contractors the right questions before approving a system.