Course Title

Safety – Electrical Part 2 – Hazardous Location, Clearances & Safety Practice (RV-5876)

Course Length

2 hours

Course Objectives

At the completion of this course, you will be able to:

- Select the type of electrical equipment to use in a hazardous location

- List the safety practices required in an electrical work area

- Talk about the importance of a clear working space around electrical equipment

- Educate your own level of safety training to be sure it matches the electrical work you’re performing

Course Outline

- Introduction

- Hazardous Locations

  - Description of Classes

    - Class I, Division 1

    - Class I, Division 2.

    - Class II, Division 1 (15 min.)

    - Class II, Division 2

    - Class III, Division 1

    - Class III, Division 2

  - Equipment for Use in Hazardous Locations

    - Equipment Design

    - Equipment Approved for Hazardous Locations

- Safe Working Clearances

  - Front Space Clearance

  - Clearance for Entrance and Access

  - Lighting for Work Spaces

  - Guarding of Electric Parts

  - Designated Clear Spaces

  - Ladders and Stairways

  - Confined or Enclosed Work Spaces

- Safety Practices

  - Training

    - Qualified Workers

    - Unqualified Workers

  - Lockout and Tagout

    - Electrically Safe Working Conditions

    - Training for Lockout/Tagout

    - The Hazardous Energy-Control Standard

    - Energized Parts

      - Shift or personnel changes

    - Energy-Isolating Devices

    - Physical Requirements for Lockout/Tagout Devices

  - Personal Protection

    - Clothing

    - Personal Protective Equipment

    - Tools and Equipment

    - Electric Tools

    - Safety Switches

    - Alerting Techniques

  - Housekeeping

- Reference