2014 National Electrical Code Requirements

By Doug Smith with Kimball Engineering

Course Syllabus:  This is a full day (8 hour) course that will cover the various code changes of the 2014 National Electrical Code (NEC).   This course will include changes to:  definitions, general requirements, branch circuits, feeder conductors, outside branch circuits and feeders, service requirements, overcurrent protection, grounding and bonding, wiring methods and materials, equipment for general use, special equipment and systems.

Topic outline and time schedule

8:00 am – 10:00 am		Instruction:  Changes to definitions, general requirements, branch 					circuits, and feeder conductors.

10:00 am – 10:15 am		Break

10:15 am – 12:00 pm		Instruction:  Changes to service requirements, and overcurrent 						protection.

12:00 pm – 1:00 pm		Lunch

1:00 pm – 3:00 pm		Instruction:  Changes on grounding/ bonding, and wiring 						methods/materials.

3:00 pm – 3:15 pm		Break

3:15 pm – 5:00 pm		Instruction:  Changes to equipment for general use, and special 						equipment and systems.

Course Objectives:  To give the students a clear idea on what changes will be in force when the 2014 National Electrical Code will be adopted by the State of Utah.  The class will be teacher/student interactive and presented using Microsoft Powerpoint.