| - 2017 NEC Changes Review - Articles 90-820 Online Course |  |
| --- | --- |

Course Objective:

This online course is designed to provide you with the information necessary to understand the changes made for the 2017 National Electrical Code® (NEC®). There were over 4,000 proposals submitted recommending changes from the 2014 NEC, and, as a result, hundreds of updates that will affect us all.

The goal of this online course is to identify many significant changes and provide explanation and analysis to help the student understand the rules, their impact, and their practical application & includes hundreds of full color illustrated images that accompany the text which highlights the topics being taught and helps bring the material to life in real world scenarios.  After successfully completing this course, students will be able to demonstrate the changes made to the NEC while out in the field.  The course summarizes key changes relevant to electrical installations.

Outlined below are the articles that are covered in this 8-hour course, which were changed in the 2017 NEC.

Chapter 1 – General Rules 
Article 100 - Definitions 
Article 110 - Requirements for Electrical Installations

Chapter 2 – Wiring and Protection
Article 210 - Branch Circuits 
Article 250 - Grounding and Bonding 

Chapter 3 – Wiring Methods and Materials 
Article 300 – General Requirements for Wiring Methods and Materials
Article 310 - Conductors for General Wiring 
Article 312 – Cabinets and Cutout Boxes
Article 314 - Outlet, Device, Pull and Junction Boxes, Conduit Bodies, Fittings, and Handhole Enclosures

Chapter 4 – Equipment for General Use 
Article 400 -  Flexible Cords and Flexible Cables 
Article 404 - Switches 
Article 422 - Appliances

Article 424 – Fixed Electric Space-Heating Equipment

Chapter 5 – Special Occupancies

Article 501 - Class I Hazardous (Classified) Locations 
Article 517 – Health Care Facilities
Article 525 - Carnivals, Circuses, Fairs, and Similar Events 
Article 550 – Mobile Homes, Manufactured Homes, and Mobile Home Parks
Article 555 – Marinas, Boatyards, and Commercial and Noncommercial Docking Facilities

Chapter 6 – Special Equipment 
Article 680 - Swimming Pools, Spas, Hot Tubs, Fountains, and Similar Installations 

Chapter 7 – Special Conditions 
Article 700 - Emergency Systems 
Article 725 - Remote-Control, Signaling, and Power-Limited Circuits 
Article 760 - Fire Alarm Systems

Chapter 8 – Communication Systems
Article 800 - Communications Circuits 
Article 820 - Community Antenna Television (CATV) and Radio Distribution Systems (Coaxial Cable)

Total Course Questions: 160