|  | 2017 Bonding & Grounding and Safety Live Seminar |
| --- | --- |

Course Time Table-Outline:

| 8:00am - 8:50am | Electrical Safety |
| --- | --- |
|  |  | 110.16 Arc-Flash Hazard Warning Examples Case Studies Arc-Flash Hazard Warning Labels |
|  |  | Available Fault Current Calculation |
|  |  | Determining PPE Required Calculate Incident Energy of Fault and Arc Flash Boundary Table 130.7(C)(15)(c) NFPA 70e Category Method - Table 130.7(C)(15)(a) with table 130.7(C)(15)(c) PPE 110.24 Available Fault Current |
| 8:50am - 9:00am | Article 90—Introduction to the National Electrical Code |
|  |  | 90.1 Purpose of the NEC 90.2 Scope of the NEC 90.3 Code Arrangement 90.4 Enforcement 90.5 Mandatory Requirements and Explanatory Material |
| 9:00am – 4:40pm | Article 250—Grounding and Bonding |
|  |  | Part I. General |
|  |  | 250.1 Scope 250.2 Definitions Introduction to 250.4 Performance Requirements for Grounding and Bonding |
| 9:10am – 9:30am | Break |  |
|  |  | 250.4 Performance Requirements for Grounding and Bonding Solidly Grounded Systems Ungrounded Systems |
|  |  | 250.6 Objectionable Current Preventing Objectionable Current Stopping Objectionable Current Temporary Currents Not Classified as Objectionable Currents Dangers of Objectionable Current |
|  |  | 250.8 Termination of Grounding and Bonding Conductors 250.10 Protection of Fittings 250.12 Clean Surfaces |
|  |  | Part II. System Grounding and Bonding |
|  |  | 250.20 Systems Required to be Grounded 250.21 Ungrounded Systems 250.24 Service Equipment—Grounding and Bonding Grounded System Main Bonding Jumper Neutral Conductor Brought to Service Equipment Grounding Electrode Conductor 250.28 Main Bonding Jumper and System Bonding Jumper |
| 10:40am – 11:00am | Break |  |
|  |  | 250.30 Separately Derived Systems—Grounding and Bonding Generators, Transformers Grounded Systems System Bonding Jumper Supply-Side Bonding Jumper to disconnect Neutral Conductor Size, System bonding jumper at Derived System Disconnect Grounding Electrode Installation |
|  |  | 250.30 Separately Derived Systems—Grounding and Bonding Generators, Transformers - outdoor installations - indoor installations |
|  |  | 250.32 Buildings Supplied by a Feeder (A)(B)(E) 250.34 Generators—Portable and Vehicle-Mounted 250.35 Permanently Installed Generators 250.36 High-Impedance Grounded Systems |
| 12:00pm – 1:00pm | Lunch |  |
|  |  | Part III. Grounding Electrode System and Grounding Electrode Conductor |
|  |  | 250.50 Grounding Electrode System 250.52 Grounding Electrode Types Electrodes Permitted for Grounding Not Permitted for Use as a Grounding Electrode |
|  |  | 250.53 Grounding Electrode Installation Requirements Review the Installation Requirements covered in 250.53 (A)-(G) Measuring the Ground Resistance 250.54 Auxiliary Grounding Electrodes 250.58 Common Grounding Electrode 250.60 Lightning Protection Electrode |
|  |  | 250.62 Grounding Electrode Conductor 250.64 Grounding Electrode Conductor Installation Review the installation specifications covered in 250.64(A)-(F) 250.66 Sizing Grounding Electrode Conductor 250.68 Termination to the Grounding Electrode 250.70 Grounding Electrode Conductor Termination Fittings |
| 2:10pm – 2:30pm | Break |  |
|  |  | Part IV. Grounding Enclosure, Raceway, and Service Cable Connections |
|  |  | 250.80 Service Raceways and Enclosures 250.86 Other Enclosures |
|  |  | Part V. Bonding |
|  |  | 250.90 General 250.92 Bonding Equipment for Services Bonding Requirements for Equipment for Services Methods of Bonding |
|  |  | 250.94 Bonding Communications Systems 250.96 Bonding Other Enclosures 250.97 Bonding Metal Parts Containing 277V and 480V Circuits 250.98 Bonding Loosely Jointed Metal Raceways 250.102 Grounded Conductor, Bonding Conductors, and Jumpers 250.104 Bonding of Piping Systems and Exposed Structural Metal 250.106 Lightning Protection System |
|  |  | Part VI. Equipment Grounding and Equipment Grounding Conductors |
|  |  | 250.110 Fixed Equipment Connected by Permanent Wiring Methods—General 250.112 Specific Equipment Fastened in Place or Connected by Permanent Wiring Methods 250.114 Cord-and-Plug-Connected Equipment |
|  |  | 250.118 Types of Equipment Grounding Conductors 250.119 Identification of Equipment Grounding Conductors 250.120 Equipment Grounding Conductor Installation 250.121 Use of Equipment Grounding Conductors 250.122 Sizing Equipment Grounding Conductor General Increased in Size Multiple Circuits Motor Branch Circuits Parallel Runs Feeder Tap Conductors |
| 3:40pm – 4:00pm | Break |  |
|  |  | Part VII. Methods of Equipment Grounding |
|  |  | 250.130 Equipment Grounding Conductor Connections 250.134 Equipment Connected by Permanent Wiring Methods 250.136 Equipment Considered Grounded 250.138 Cord-and-Plug-Connected 250.140 Ranges, Ovens, and Clothes Dryers |
|  |  | 250.142 Use of Neutral Conductor for Equipment Grounding (Bonding) 250.146 Connecting Receptacle Grounding Terminal to Metal Enclosure Surface-Mounted Box Self-Grounding Receptacles Floor Boxes Isolated Ground Receptacles 250.148 Continuity and Attachment of Equipment Grounding Conductors in Metal Boxes Grounding Continuity |
| 4:40pm – 4:55pm | Chapter 4 -Articles 440, 406, 440, 450 |
|  |  | Article 404—Switches 404.9 Switch Faceplates 404.12 Grounding of Enclosures Article 406—Receptacles, Cord Connectors, and Attachment Plugs (Caps) 406.3 Receptacle Rating and Type 406.4 General Installation Requirements 406.6 Receptacle Faceplates 406.11 Connecting Receptacle Grounding Terminal to Equipment Grounding Conductor Article 440—Air‑Conditioning and Refrigeration Equipment 440.9 Grounding and Bonding Article 450—Transformers 450.10 Grounding and Bonding |
| 4:55pm – 5:00pm | Article 680—Swimming Pools, Spas, Hot Tubs, Fountains, and Similar Installations |
|  |  | 680.7 Grounding and Bonding Terminals 680.26 Equipotential Bonding |
| 5:00pm – 5:10pm |  | Closing Comments |

Course Description:

This course brings you an accurate, in-depth coverage of one of the least understood articles in the NEC®, Bonding and Grounding. More than any other topic in the Electrical industry, Bonding and Grounding is at the core of most power quality, and safety, issues.

This dynamic presentation translates the very technical language of the NEC® into everyday electrician’s language to ensure a safe Code-compliant system that is designed, installed, and inspected to reflect the significant knowledge found in the 2017 NEC®.

Course Objectives/Goals:

This course will teach students the common misconceptions and proper techniques regarding Bonding and Grounding by thoroughly breaking down each of the Code articles that pertain to this topic. Discussing practical applications and real-life examples that will help the student truly understand how to properly use the NEC as it relates to Bonding and Grounding.

Method of Course Presentation

This program is presented in a live classroom and is accompanied by books for each student and PowerPoint slides with hundreds of illustrations and graphics.

Method of Evaluation of Course Participants

Students’ attendance is monitored with sign-in and sign-out sheets that verify actual time spent in the course. Students complete a course evaluation form for the course content and the instructor.

Course Instructors:

See attached Bios for Mike Holt (already an approved instructor), Brian House and J. Philip Simmons.